## KnownErrors
Code | en | Solution | delivery=HVAC | issue=use
Id001 | The text '{0} ... {1}' is too long, so it has been truncated. | No action required
Id002 | Calculation '{0}' has ended unexpectedly. | If this problem persists, please send the project and notification to elements@vabi.nl
Id003 | An unknown exception has occurred. If this problem persists, please contact your application manager or system administrator. | If this problem persists, contact your application administrator or system administrator.
Id004 | Buildingpart '{0}' does not have a construction assigned. | Link a fully completed architectural template to the space that belongs to this building part under Properties - Rooms or link a construction to this building part under Properties - Building components.
Id006 | Reopen {0} failed. | Restart the program and open the project from within the program.
Id007 | The content of file '{0}' is not correct. | Het project wordt niet herkend als Vabi bestand. Probeer een voorbeeldproject te openen om te bepalen of het aan het project ligt of aan de software.
Id008 | Access to file '{0}' has been denied. Please check the file's access rights. | The project is not recognized as a Vabi file. Try opening a sample project to determine if it's the project or the software.
Id009 | Failed to remove backup file '{0}'. | Close elements, empty the Vabi_Software folder and the open_projects folder, restart the software
Id013 | File '{0}' is not an image or the filesize is too large. | Check the image mentioned, in project data and then project data, consultant or client
Id014 | An exception occurred while checking for changes in the current project. | If this is a notification when opening a project, you can send this project and the question to elements@vabi.nl. If the problem occurs during saving, it is best to call the service desk
Id015 | The file '{0}' is not a valid project file. | Quit elements, reopen elements, and try to open the project. If this doesn't work, try opening a sample project to rule out the possibility that it's the project's fault.
Id016 | An error occurred while disabling or enabling a module. | Quit elements, reopen elements, and try to open the project. If this doesn't work, try opening a sample project to rule out the possibility that it's the project's fault.
Id017 | Failed to open file '{0}'. | Quit elements, reopen elements, and try to open the project. If this doesn't work, try opening a sample project to rule out the possibility that it's the project's fault.
Id018 | Problem with allocating memory for the calculation | Free up space on your computer.
Id019 | The ventilation in the room does not meet the minimum required by the Building Regulations, the shortfall will be made up with outside air. | The BBL (Building Decree) specifies minimum air volumes. If less air is supplied at room level than the minimum requirement, the software will supplement this with natural ventilation. Check the ventilation templates for the applied air quantities. It is also possible to turn off this check in the building requirements template, in which case the air volume from the ventilation template is maintained without supplementing it.
Id020 | There is no name specified for the XML file (read/write) | Restart the program and open the project from within the program.
Id021 | The input file (HeatLossInput.xml) does not exist or the file contains errors. | Restart the program and open the project from within the program.
Id022 | Cannot edit the import or export file (HeatLossInput*.xml). | Check if you have write permissions in the folders and if the file is in use by other software (e.g. virus scanner or updates)
Id023 | There is already an open input or output file (HeatLossInput*.xml). | Restart the program and open the project from within the program.
Id024 | There is no "root element" found in the input file (HeatLossInput.xml) | Restart the program and open the project from within the program.
Id025 | Cannot edit input/output file (HeatLossInput*.xml). No active element. | Restart the program and open the project from within the program.
Id026 | Cannot edit input/output file (HeatLossInput*.xml). Element has no name. | Restart the program and open the project from within the program.
Id027 | Cannot edit input/output file (HeatLossInput*.xml). Element not found. | Restart the program and open the project from within the program.
Id028 | Cannot edit input/output file (HeatLossInput*.xml). Attribute has no name. | Restart the program and open the project from within the program.
Id029 | Cannot edit input/output file (HeatLossInput*.xml). Attribute not found. | Restart the program and open the project from within the program.
Id030 | Input/output file (HeatLossInput*.xml) cannot be created. | Restart the program and open the project from within the program.
Id031 | Writing to input/output file (HeatLossInput*.xml) is not possible | Restart the program and open the project from within the program.
Id032 | No value specified for element in input/output file (HeatLossInput*.xml) | Restart the program and open the project from within the program.
Id033 | Element in input/output file has no name (HeatLossInput*.xml). | Restart the program and open the project from within the program.
Id034 | No active element present in input/output file (HeatLossInput*.xml). | Restart the program and open the project from within the program.
Id035 | Input/output file was not closed properly. (HeatLossInput*.xml) | Restart the program and open the project from within the program.
Id036 | Input/output file was not closed properly. (HeatLossInput*.xml) | Restart the program and open the project from within the program.
Id037 | In the input/output file there are no elements (HeatLossInput*.xml). | Restart the program and open the project from within the program.
Id038 | There is no root element in the input/output file (HeatLossInput*.xml). | Restart the program and open the project from within the program.
Id039 | There are multiple root elements in the input/output file (HeatLossInput*.xml). | Restart the program and open the project from within the program.
Id040 | In the input/output file the same element is repeated multiple times (HeatLossInput*.xml) | Restart the program and open the project from within the program.
Id041 | The input/output file (HeatLossInput*.xml) does not apply the parent element sequence. | Restart the program and open the project from within the program.
Id042 | Required element is missing from input/output file (HeatLossInput*.xml). | Restart the program and open the project from within the program.
Id043 | Required element appears multiple times in input/output file (HeatLossInput*.xml). | Restart the program and open the project from within the program.
Id044 | Required element is missing from input/output file (HeatLossInput*.xml). | Restart the program and open the project from within the program.
Id045 | In the input/output file (HeatLossInput*.xml) the order of elements is incorrect. | Restart the program and open the project from within the program.
Id046 | There was a problem with the created lists in the calculation (HeatLossInput*.xml) | Restart the program and open the project from within the program.
Id047 | There is no valid license found. | Fill in the license details again at Tools - Software Activation screen, NB to make an Energy & Cost calculation it is necessary that the Building Simulation module is also active
Id048 | Input/output file cannot be read (HeatLossInput*.xml) | Restart the program and open the project from within the program.
Id049 | Cannot remove input/output file (HeatLossInput*.xml). | Restart the program and open the project from within the program.
Id050 | Input file (HeatLossInput*.xml) does not match output file (*Output.xml of *Errors.xml). | Restart the program and open the project from within the program.
Id051 | Calculation type (Envelope or room) is not correct. | This message should not occur at the moment, because there is no built-in peel calculation
Id052 | When calculating a single room the room number is not specified. | Check which buildings are ticked at properties buildings, then check via properties spaces whether the spaces to be charged (checked) are in these buildings
Id053 | Keuze uitgave berekening ISSO 2012 of 2017 | Until ISSO 51 was renewed in 2023, people could choose from ISSO 2012 or 2017, this can be done in project data project settings
Id054 | To calculate the ventilation requirements the Dutch 2003 Building Regulations have been used | Since 2021, there has been a new building code. If, for a heat loss calculation, the ventilation template is filled in according to the building decree, the flow rate is determined on the basis of the chosen template use (type of room)
Id055 | Outside temperature is not correct, the standard value of -10 Â°C has been used. | If a different temperature is desired, adjust the outside temperature in Project Details - Environment.
Id056 | Calculations with an outside temperature other than the standard temperature according to ISSO 51/53/57 | If the default temperature is desired according to ISSO 51/53/57 (2012), adjust the outside temperature to -10 degrees in Project data - Environment.
Id057 | The specific warm-up surcharge is not correctly specified, it has been specified at 5.0 W/m². | In Templates - Room Requirements, adjust the heating allowance to a number between 0 and 99 W/m².
Id058 | The type of building (residential, commercial, or combination) is not set correctly. | The type is determined by the templates used, check if they are linked to the correct spaces
Id059 | It has been specified that the building does not comply with building regulations | The building requirements template can indicate that the building does not comply with the Building Decree. Until 2023, infiltration will then be calculated in a different way and ventilation according to the building decree will of course be ignored.
Id060 | The construction of the house/residential building is not specified correctly | Check the building requirements template, has the correct construction method been applied? Send the project with the notification to elements@vabi.nl
Id061 | The security class of the home/residential building is not set correctly. | Up to ISSO 51 2023, the security class can be chosen, check it in the building requirements template
Id062 | The groundwater level is not correctly specified for floors / walls against ground. | Check this value in the building requirements template
Id063 | The Building regulations are not correctly specified (according to Dutch regulations 2003, or 2012). | In newer version of the software no longer applicable: BBL from 2021
Id064 | There is no required minimum ventilation flow rate required by the Building Regulations. | If checking for minimum required ventilation flow rates according to the Building Decree is desired, check 'Check ventilation requirements according to Building Decree' under Templates - Building requirements
Id065 | The number of the construction is not correctly specified, it must be greater than 0, and unique. | Send project and notification to elements@vabi.nl
Id066 | The number for this construction is specifed multiple times, it must be unique. | Send project and notification to elements@vabi.nl
Id067 | The type of construction is not specified correctly. | Check the properties of building components to see if any structures have been incorrectly overruled
Id068 | The surface of the construction is not specified correctly. | Check for each construction aid for each construction whether values are specified here
Id069 | The thickness of the material is not specified correctly, the material has not been included in the calculation. | Check the resources construction for each construction to see if values are specified here (0mm?, >200mm for the first or last layer?)
Id070 | The lambda value of the material is not specified correctly, the material has not been included in the calculation. | Check for each resources construction for each construction whether values are specified here
Id071 | The construction has no U value specifed, and no materials assigned. | Check for each resources construction for each construction whether values are specified here
Id072 | The material type is not specified correctly | Check with resources material whether each material has the right type
Id073 | Zone contains rooms of residential and commercial type. Commercial type has been applied. | For each building/zone, it must be determined whether it concerns a residential or non-residential property. This is determined by the templates used in use.
Id074 | Within the zone there are different ventilation systems specified. The Infiltration differs from the norm. | The type of ventilation must be determined for each building/zone. This is determined by the air treatment tools used, which are linked to the rooms via the delivery template.
Id075 | The number of the room is not correct. The number must be greater than 0 and unique. | Check properties rooms
Id076 | The number of the room is specified multiple times, it must be unique. | Check properties rooms
Id077 | The zone specified for the room does not exist in the zone list. | Check properties rooms, is each room linked to a zone?
Id078 | The HVAC of the room is not known. | Check properties rooms, is each room linked to a template HVAC?
Id079 | The room type is not specified correctly | Check properties rooms, is each room linked to a template use?
Id080 | The use of the room is not specified correctly | Check properties rooms, is each room linked to a template use?
Id081 | The heating system in this room is not specifed correctly | Check properties rooms, is each room linked to a template HVAC?
Id082 | The operating mode of the room is not specified correctly. | Check properties rooms, is each room linked to a template room requirements?
Id083 | The control method for the room is not specified correctly | Check resources distribution, if control on room thermostat, check properties temperature control room
Id084 | Adaptive control is not possible when using ISSO methods other than 51/53/57, Control per room will be used. | Check the resources distribution, if adaptive control is filled in, the only effect is that no reheat surcharge is included
Id085 | The control room for the thermostat has not been specified. | Check resources distribution, if control on room thermostat, check properties temperature control room
Id086 | Room number of control room is not specified. | Check resources distribution, if control on room thermostat, check properties temperature control room
Id087 | The ventilation in the room is not specified correctly. | Check whether the template HVAC that is used has a link to the correct type of ventilation system, to be determined by the resources air handling
Id088 | The unit of the infiltration rate in this room is not correct. | In the ventilation template, the infiltration is specified (until 2023), for ISSO 57 the unit here must be 1/h
Id089 | The source of the ventilation air in the room is not correctly specified. | If it has been chosen in the ventilation template to ventilate according to the BBL code, then the source ventilation air is determined from NOT can be chosen for "room properties"
Id090 | The reduction factor for circulation rate is not specified correctly, Factor of 1.0 is applied. | In the ventilation template, a reduction for circulation can be chosen for ISSO 57. Check if this value has been chosen correctly
Id091 | The heating system is not correct, HT radiator heating has been applied. | In the chosen template use, a device has been chosen of a type that is not specified in the relevant ISSO. If the chosen system is not desirable, choose a system that does exist in the ISSO in question.
Id092 | The heating system is not correct when using method ISSO 57; {0} has been applied. | Er is in het gekozen sjabloon afgifte een afgifteapparaat gekozen van een type dat in de betreffende ISSO niet benoemd is. Als het gekozen systeem niet wenselijk is kies dan voor een systeem dat wél in de betreffende ISSO voorkomt.
Id093 | The occupancy rate for the room is not specified correctly | Er is in het gekozen sjabloon afgifte een afgifteapparaat gekozen van een type dat in de betreffende ISSO niet benoemd is. Als het gekozen systeem niet wenselijk is kies dan voor een systeem dat wél in de betreffende ISSO voorkomt.
Id094 | The occupancy of the room is not correct, maximum occupancy rates have been assumed. | Based on the type of room, a minimum occupancy rate is calculated. If this is higher than the specified occupancy (template ventilation, number of people, normative for the ventilation in the room, then more people are calculated to determine the minimum ventilation
Id095 | The use of the room is not specified correctly. | In the template use, a usage function is chosen. Check properties rooms to see if each room has the correct template use
Id096 | The function of the room is not correctly specified, it is calculated with function 'Other Space' | In the template use, a usage function is chosen. Check properties rooms to see if each room has the correct template use
Id097 | The internal height of the room is not specified, check the dimensions of the room. | This could be caused by the fact that a room does not have an internal height due to, for example, a ceiling or a roof that is thicker than the room is high in geometry. Check the thickness of mezzanines and roofs
Id098 | The specified ventilation system E can only be used for residential buildings. Uncheck option 'Heat exchanger in combination with natural supply (system E)' at the HR in the air-handling unit. | Because nowadays it is no longer possible to choose a building code, this notification no longer needs to occur. Check Help, check version number if you need to update. Ventilation system E can be indicated in the resource air handling if there is an HRV and per template HVAC
Id099 | The number of the building component is not specified correctly, it must be greater than 0, and unique. | Does each building part have a number in the properties building parts? Check the version number under Help
Id100 | The number of the building component is specified multiple times, it must be unique. | Does each building part have a number in the properties building parts? Check the version number under Help
Id101 | The building component is specified in another, unknown building section. | Does each building part have a number in the properties building parts? Check the version number under Help
Id102 | The building type is not specified correctly. | Check the properties building parts to see if any structures have been incorrectly overruled
Id103 | The angle of the component (wall, floor or ceiling) is not specified correctly | Check the properties building parts to see if any structures have been incorrectly overruled
Id104 | The orientation of the building component is not correctly specified (0 to 359 vs. north), it is assumed to be south facing. | Under Help, check the version number, send project and notification to elements@vabi.nl
Id105 | The reverse of the building component is not specified correctly. | Check the properties building parts to see if any adjacencies have been incorrectly overruled
Id106 | The reverse side of the building component, adjacent building is not correct. | Check the properties building parts to see if any adjacencies have been incorrectly overruled
Id107 | For a detached house building components cannot have the adjacency setting of 'another building'. 'Outside' has been chosen. | Check the properties of building parts to see if any adjacencies have been incorrectly overruled. Overruled adjacent to another building cannot be used in combination with template building requirements, detached
Id108 | The reverse side of the building component, 'adjacent unheated space', is not correct. | Check the properties building parts to see if any adjacencies have been incorrectly overruled
Id109 | The building contains building components adjacent to ground, however groundwater level has not been specified. | Enter the value for the groundwater level in the building requirements template, check in the properties building section to see if the template is linked to the building
Id110 | A roof or ceiling component cannot have an adjacency of 'Ground'. | A roof/ceiling cannot be adjacent to the ground. Choose adjacent to outside air and include the layer of soil as a material layer, or overrule adjacency by a temperature that is maintained as the ground temperature
Id111 | The reverse of the wall has no Uek specified. Maximum Uek applied. | Until ISSO 2017, the Ueq could be specified in the building requirements template, in newer versions it is calculated
Id112 | The surface area of sub-surface components is larger than the area of the building surfaces. | Sub-surfaces, such as windows, may be placed in such a way that they do not actually fit into the construction. You can see this by setting the geometry to realistic, then you can see the ceiling through the window, for example. You can adjust the subfaces yourself or accept that the software reduces the size of the areas
Id113 | The construction of the building component is missing or incorrect. | Check the properties of building parts to see if any structures have been incorrectly overruled and if there are any parts whose construction is undefined. Perhaps not all types of construction are present in the architectural template? Or there is no architectural template linked to every space (properties rooms)
Id114 | The serial number of the ventilation system in the room is not correctly specified, it must be greater than 0 and unique. | Under Help, check the version number, send project and notification to elements@vabi.nl
Id115 | The serial number of the ventilation system in the room is specified multiple times, it must be unique. | Under Help, check the version number, send project and notification to elements@vabi.nl
Id116 | The unit of the ventilation rate in the room is not correct. | Check the selected units in the ventilation flow rate in the ventilation template
Id117 | The origin of the ventilation air in the room is not specified correctly | If ventilation source determined by has been chosen for room requirements, you can choose the air exchange yourself (properties room, pencil, TAB sheet ventilation). However, it is not possible to choose outside air for this, for example, in which case you must install a system with natural ventilation
Id118 | The number and/or the area from which the ventilation air is coming from is not correctly specified/is not on the list | If ventilation source determined by has been chosen for room requirements, you can choose the air exchange yourself (properties room, pencil, TAB sheet ventilation). Check which rooms have been chosen here and whether they are also included in the same building/calculation
Id119 | In a ventilation system with natural supply ventilation air can not come from the installation, it is projected air from outside. | Check in the applied templates HVAC whether the correct AHU resources air handling has been chosen
Id120 | The intake temperature of the supply air is lower than the outside air temperature, the outside air temperature is used instead. | At resource air handling (Heating coil present), the desired inlet temperature can be selected, for a heat loss calculation this temperature cannot be lower than the outside temperature
Id121 | The unit of the number of people in the room is not correct. | Check the chosen units in the ventilation template for the number of people that determine the ventilation in the room
Id122 | Niet alle constructies opgegeven via materiaallagen; temperatuurcorrectie op de buitentemperatuur kan niet worden bepaald; er wordt gerekend met de forfaitaire methode voor de warmteinhoud en voor het gebouw met een zwaar gebouw | For a heat loss calculation, it is not necessary to build all construction from material layers. If you have chosen to specify Rc values and thicknesses, then you need to choose Flat reate in the building requirements template when determining heat content building, then you need to choose the thermal mass yourself
Id126 | The room is calculated according to ISSO 57 | This notification is given if there are rooms that are calculated according to ISSO 57
Id127 | The type of heating system is specified as floor, wall, or ceiling heating, but no building construction is specified as thermally active. | If floor heating is chosen, it must be indicated which layer in the construction is the thermal layer. For heat loss, if it has been decided not to specify layers but an Rc value, a check mark for thermal activity will suffice
Id128 | The qáµ¥10 value can not be applied on rooms according to ISSO 57. Instead a infiltration rate has to be entered in the ventilation template. An infiltration rate of 0.2 is used. | Check the ventilation template that is linked to rooms that are calculated according to ISSO 57. In this template, infiltration must be entered manually and the unit must be 1/h
Id129 | The room has no infiltration applied, but it is located on the building facade. | Check the ventilation template of the room in question, are the values entered correct?
Id130 | There is no qv10 value given, it is calculated using the maximum value according to the conversion tables. | Check the ventilation template of the room in question, are the values entered correct?
Id131 | The qv10 value is too low/high in combination with the ventilation system being used. | Check the ventilation template of the room in question, are the values entered correct?
Id132 | The qv10 is not valid in combination with the ventilation system. The maximum qv10 value is applied. | Check the ventilation template of the room in question, are the values entered correct?
Id133 | Calculated unheated room temperature is not correct (Heat balance), room is likely only adjacent to unheated rooms. | The calculated room temperature of unheated room is not correct (according to heat balance). This room is probably only adjacent to unheated rooms, so the room temperature cannot be calculated. Solution: Enter a Custom value for Design Temperature (instead of Default) in Templates - Room Requirements.
Id134 | The specified number of people in this room is less than the minimum occupancy according to the Building Regulations. There is a minimum occupancy held for the functional use. | Based on the type of room, a minimum occupancy rate is calculated. If this is higher than the specified occupancy (template ventilation, number of people, normative for the ventilation in the room, then more people are calculated to determine the minimum ventilation
Id135 | Specification of thermal bridge values other than the standard value is not yet possible, the standard value is used. | Under Help, check the version number, send project and notification to elements@vabi.nl
Id136 | A Building element adjacent to outside air cannot be specified as fictitious. | Check for properties of building parts where check marks have been placed for fictitious
Id137 | A construction adjacent to another building can not be specified as fictitious. | Check for properties of building parts where check marks have been placed for fictitious
Id138 | The temperature difference between areas of open connections is more than 5°C. | Als bij eigenschappen bouwdelen het vinkje fictief is aangezet dan wordt er geen tranmissie door deze wand meegenomen. Check of dit ook de wens is als er meer dan 5K temperatuurverschil is tussen beide ruimten
Id139 | An unknown problem occured. | Under Help, check the version number, send project and notification to elements@vabi.nl
Id141 | The heat loss calculation encountered an error in the project. | Under Help, check the version number, send project and notification to elements@vabi.nl
Id142 | The heat loss calculation encountered an error in the mapping. | Under Help, check the version number, send project and notification to elements@vabi.nl
Id145 | Call to calculation engine failed | Under Help, check the version number, send project and notification to elements@vabi.nl
Id146 | Cannot create results folder. | Restart the program and open the project from within the program.
Id147 | Cannot delete folder '{0}'. | Restart the program and open the project from within the program.
Id148 | Cannot find calculation engine: '{0}' | Restart the program and open the project from within the program.
Id149 | Cannot find the input file for the heat-loss calculation: '{0}' | Restart the program and open the project from within the program.
Id150 | Incorrect input for the calculation engine; see error file for details. | Restart the program and open the project from within the program.
Id151 | Integrity check of the input for the calculation engine failed | Restart the program and open the project from within the program.
Id152 | No or more than one calculated building defined | Check the properties of buildings to see if a building is ticked
Id153 | No calculated rooms defined | Check at rooms properties whether the rooms of the building to be calculated are on calculation
Id154 | Unknown error in calculation engine | Under Help, check the version number, send project and notification to elements@vabi.nl
Id156 | Part {1} of room '{0}' does not have a construction. | Check at properties building parts whether there are building parts with construction "undefined" and solve this by adding to the template architecturally and/or by linking the template architectural to the spaces at properties rooms
Id157 | Building part '{0}' has a boundary condition without data. | Check the properties of building parts to make sure that no adjacency have been incorrectly overrulled
Id158 | Opaque construction '{0}' has no data. | Check the properties of building parts to make sure that no contructions have been incorrectly overrulled
Id159 | Layered construction '{0}' does not contain layer information. | Go to the resource construction and check the construction of the mentioned building part
Id160 | Layered construction '{0}' has an undefined layer. | Go to the resource construction and check the construction of the mentioned building part
Id161 | Layered construction '{0}' has a layer with unknown material. | Go to the resource construction and check the construction of the mentioned building part
Id162 | Transparent construction '{0}' has no transparent components. | Go to the resource construction and check the glas data of the mentioned building part
Id163 | Transparent construction '{0}' has no blinds data. | Go to the resource construction and check the glas data of the mentioned building part/constuction
Id164 | Reheat factor cannot be determined for this combination of night setback, building-mass type and reheat time. | To determine the reheating surcharge, tables in ISSO 51, 53 and 57 are used. Apparently, these tables do not contain values for chosen input
Id165 | Room '{0}' has mechanical air supply but no air handling. | An air handling unit (resource air handling) must be selected in the linked template HVAC
Id166 | Ventilation air supply source 'user-defined' in room '{0}' is not possible when the ventilation is specified according to the Building Decree. | If ventilation according to the building decree has been chosen in the ventilation template, it is not possible to choose "room properties" as the source of ventilation air is determined
Id167 | Room '{0}' does not contain data on the total ventilation. | Check the ventilation template for the room in question
Id169 | Room '{0}' has mechanical air supply but no air handling | An air handling unit (resource air handling) must be selected in the linked template HVAC
Id171 | Room '{0}' has fresh air ventilation via building part '{1}', from another building. This is not possible. | In propertie rooms, pencil, TAB leaf ventilation, air exchange is specified but the chosen source is not possible, remove this overflow or choose another source
Id172 | Room '{0}' has fresh air ventilation via building part '{1}', from an over heated room. This is not possible. | In propertie rooms, pencil, TAB leaf ventilation, air exchange is specified but the chosen source is not possible, remove this overflow or choose another source
Id173 | Room '{0}' has fresh air ventilation via building part '{1}', from a crawl space. This is not possible. | In propertie rooms, pencil, TAB leaf ventilation, air exchange is specified but the chosen source is not possible, remove this overflow or choose another source
Id174 | Room '{0}' has fresh air ventilation via building part '{1}', from the ground. This is not possible. | In propertie rooms, pencil, TAB leaf ventilation, air exchange is specified but the chosen source is not possible, remove this overflow or choose another source
Id175 | Room '{0}' has fresh air ventilation via building part '{1}', from water. This is not possible. | In propertie rooms, pencil, TAB leaf ventilation, air exchange is specified but the chosen source is not possible, remove this overflow or choose another source
Id176 | The ventilation of room '{0}' is specified as based on the Building Decree, which is not allowed in detailed ventilation mode. | If ventilation according to the building decree has been chosen in the ventilation template, it is not possible to choose "room properties" as the source of ventilation air is determined
Id177 | Room '{0}' does not contain data on the total ventilation. | Check the ventilation template of specified room
Id179 | Room '{0}' has natural ventilation, exhaust air to adjacent room. | Either choose a different ventilation system, or check the template for the use of the room, or specify air exchange yourself
Id180 | Room '{0}' has natural ventilation, supply air is assumed from adjacent room. | Either choose a different ventilation system, or check the template for the use of the room, or specify air exchange yourself
Id181 | The room '{0}' is controlled by thermostat, however the room where the thermostat is located is not specified. The calculation assumes control per room. | In resources distribution, it has been decided to control on a room thermostat. Good to know, this only has an effect on the heating surcharge. In that case, a room must be selected properties temperature control rooms
Id184 | Emission device '{1}' in room '{0}' can not be applied, it will be ignored. | The template HVAC contains more devices than can be applied, which is why the device is not included in the calculation
Id185 | Only 1 emission device in room '{0}' is used, the first entered device will be taken. | To determine the heating system, the device that was created first in the template HVAC is used
Id186 | Window '{0}' in room '{1}' has an oversized frame thickness, {2:P0}% glass is used. | In resource construction, a frame thickness is specified, if this is not applicable for a certain size of window, this message will appear. You can prevent this by adjusting the frame thickness
Id188 | The surfaces of the sub-areas in block '{0}' space '{1}' have been reduced to fit into the structure. | Sub-surfaces, such as windows, may be placed in such a way that they do not actually fit into the construction. You can see this by setting the geometry to realistic, then you can see the ceiling through the window, for example. You can adjust the subfaces yourself or accept that the software reduces the size of the areas
Id190 | Opaque construction '{0}' has no outside finish. | In resources construction, a finish is chosen
Id191 | Opaque construction '{0}' has no interior surface finish | In resources construction, a finish is chosen
Id192 | The density of material '{0}' is 0.0. The mapping assumes {1:0.0} kg/m³. | Selected material can be found at resources material, check the values
Id193 | Specific heat of material '{0}' is 0.0. The mapping assumes {1:0.0} J/(m³.K). | Selected material can be found at resources material, check the values
Id194 | The building totals are missing in the output file (HeatLossInputOutput.xml). | Restart the program and open the project from within the program.
Id195 | The building results are missing in the output file (HeatLossInputOutput.xml). | Restart the program and open the project from within the program.
Id196 | The room results are missing in the output file (HeatLossInputOutput.xml). | Restart the program and open the project from within the program.
Id198 | The U value of the construction is too large. The U value is changed to {0:0.0} | Go to the relevant construction under resources and enter a more realistic value
Id199 | The U value of the frame of a window is too large. The U value is changed to {0:0.0} | Go to the relevant construction under resources and enter a more realistic value
Id200 | Failed to compress the database file '{0}'. The file was saved without being compressed. | Restart the program and open the project from within the program.
Id201 | Failed to remove the database or the configuration file. | Restart the program and open the project from within the program.
Id202 | Autosave failed. Try to save your project manually. | Restart the program and open the project from within the program.
Id203 | It is not allowed to change the undo-redo state directly from {0} to {1}. | Send project and notification to elements@vabi.nl
Id205 | The infiltration and ventilation flow rates at wind speeds of 3 and 6 m/s are zero. The flow rates at a wind speed of 0 m/s are used. | In the ventilation template, these fields should also be filled
Id206 | Unable to create a subface since the percentage {0} % falls outside the range of from {1:0.0} - {2:0.0}. | Try to place the subface with values that fit into the construction
Id207 | The section plane can not be inserted. The surface area of the main plane is 0 m² or less. | Try to place the subface with values that fit into the construction
Id208 | The section plane can not be inserted. The main surface may be a complex shape. | Try to place the subface with values that fit into the construction
Id209 | Unable to create a face since the length ({0:0.00} m) and width ({1:0.00} m) are both smaller or equal to 0. | Try to place the subface with values that fit into the construction
Id210 | The sub-assembly can not be loaded. The part surface is larger than the main face or the principal plane is not flat. | Try to place the subface with values that fit into the construction
Id211 | The part surface (window, door or panel) can not be loaded. The part surface is larger than the main face or the principal plane is not flat. | Try to place the subface with values that fit into the construction
Id212 | Ventilation balance calculation for heat loss calculation failed. | Activate the ventilation flows module and check the results
Id213 | Ventilation balance calculation for building simulation calculation failed. | Activate the ventilation flows module and check the results
Id214 | Close the window that transfers data between central library and project. | Close the library exchange by opening one of the menu steps, e.g. a template
Id215 | The version of the central library {0} is too old to convert. Contact Vabi if you wish to open this library file. | On the site, there is a "clean" version of the library under the downloads
Id216 | The version of the central library (database version {0}) is newer than the application supports. Make sure you are using the latest version of Vabi Elements. | Under Help in the top menu bar you can find which version is being used, perhaps the software needs to be updated
Id218 | Upgrade of the central library to the latest version is not possible because the file is write-protected. | Check if you can create a new file in the folder where this file can be saved. If not, you don't have the necessary permissions in this folder
Id219 | The central library is not a valid file. Exchange with the project is not possible. | Check if you can create a new file in the folder where this file can be saved. If not, you don't have the necessary permissions in this folder
Id220 | File '{0}' can not be deleted. | Check if you can create a new file in the folder where this file can be saved. If not, you don't have the necessary permissions in this folder
Id221 | Project file '{0}' does not contain a project. | Check in explorer if this file has any content (MB), send it to elements@vabi.nl
Id222 | The version of file '{0}' (version {1}) is too old to convert. Contact Vabi when you want to open this file anyway. | Send the project and the report to elements@vabi.nl
Id223 | The version of file '{0}' (version {1}) is newer than the application supports. Sure you are using the latest version. | Under Help in the top menu bar you can find which version is being used, perhaps the software needs to be updated
Id224 | A problem occurred while upgrading file '{0}'. | Send the project and the report to elements@vabi.nl
Id225 | The file '{0}' cannot upgraded to the latest version because the file is write-protected. Remove the write protection and try again. | Check if you can create a new file in the folder where this file can be saved. If not, you don't have the necessary permissions in this folder
Id226 | Project file '{0}' was created with a {2} license and can not be opened with license {1}. If you wish to do this, please contact Vabi Software via elements@vabi.nl. | Send project and notification to elements@vabi.nl
Id227 | The project can not be saved because there is no file name specified. | Type a file name
Id228 | Access to project file '{0}' denied; please choose a different file location. More info: {1} | Check if you can create a new file in the folder where this file can be saved. If not, you don't have the necessary permissions in this folder
Id229 | No license for executing calculation '{0}'. | The module can be checked in project data project settings if the module is also activated in the additional, activation screen. Incidentally, for an Energy & Cost calculation, it is necessary to turn on building simulation also
Id230 | Project '{0}' is re-opened. | Project reopens
Id231 | The central library has been upgraded to the current version of Vabi Elements. A backup of the original library has been saved in '{0}'. | If the library is opened in a newer version of elements, a backup is always saved that, after renaming, can still be used in the previous elements version
Id232 | The project has been upgraded to the current version of Vabi Elements. A backup of the original project has been saved in '{0}'. | If the library is opened in a newer version of elements, a backup is always saved that, after renaming, can still be used in the previous elements version
Id233 | Calculation '{0}' has been started. | Calculation has been started
Id234 | Calculation '{0}' has been canceled. | The calculation may have been stopped manually by clicking again
Id235 | Calculation '{0}' has ended with errors. | Check why the calculation failed, send the project and the notification to elements@vabi.nl
Id236 | Calculation '{0}' has ended successfully. | Calculation was successful
Id237 | The reverse of the building component does not appear in the list. | Check the properties of building parts to make sure that no adjacencies have been incorrectly overrulled
Id238 | The air exchange of building component '{0}' per mÂ² cannot be determined because the room has no external surface area. | Check the room in question, if this message is correct, please adjust the ventilation template
Id239 | The air exchange by building component '{0}' per mÂ² of facade cannot be determined because the room has no faÃ§ade. | Check the room in question, if this message is correct, please adjust the ventilation template
Id240 | The air exchange of building component '{0}' per m² floor cannot be determined because the room has no floor surface. | Check the room in question, if this message is correct, please adjust the ventilation template
Id241 | The air exchange of building component '{0}' per person can not be determined because the number of people is not specified. | Check the room in question, if this message is correct, please adjust the ventilation template
Id242 | The air exchange of building component '{0}' per m² of floor area cannot be determined because the room has no floor surface. | Check the room in question, if this message is correct, please adjust the ventilation template
Id243 | The air exchange by building component '{0}' cannot be determined because the volume of the room is missing. | Check the room in question, if this message is correct, please adjust the ventilation template
Id244 | The air exchange of room '{0}' per person cannot be determined because the number of people is too small or too large. | Check the room in question, if this message is correct, please adjust the ventilation template
Id245 | Failed to de-serialize the serialized data of [{0}] with aspect definition id [{1}]. | Send project and notification to elements@vabi.nl
Id246 | An error occurred while reading the file '{0}'. | Send project and notification to elements@vabi.nl
Id247 | While reading file {1}, an error occurred just after time {0}. | Restart the program and open the project from within the program.
Id248 | Construction has a non-positive U-value. | Send project and notification to elements@vabi.nl
Id249 | Construction has a non-positive Rc-value. | Send project and notification to elements@vabi.nl
Id250 | Rc value should be a larger than 0 m².K/W. | Resources constructions, check the Rc values
Id251 | U value should be a larger than 0 W/m².K. | Check the U-values resources constructions
Id252 | Constructions with {0} layers are not supported. | In the resources constructions, check the number of material layers and reduce them
Id253 | Construction has a thickness that is equal or less to 0 mm. | Resources constructions, check the thicknesses
Id254 | Construction has a thermal mass that is equal or less to 0 kg/m². | Resources constructions, check the mass
Id255 | Construction has a specific heat that is equal or less to 0 J/kg.K. | Resources constructions, check the specific heat
Id256 | Heat conductivity should be larger than 0 W/m.K. | Resources constructions, check the lambda
Id257 | There cannot be holes in walls/floors. | In the geometry, you can repair holes by drawing guide lines or moving windows
Id258 | Climate-window system does not have two panes. | Check and adjust resources construction window
Id259 | Glazing-blinds system does not have three panes. | Check and adjust resources construction window
Id260 | Convection factor of glazing cannot be set, but is derived from product properties. | The convection factor is determined
Id261 | Cannot combine an unknown glazing type with blinds. | Check and adjust resources construction window
Id262 | Number of panes of a transparent construction must be one or more. | Check and adjust resources construction window
Id263 | The transmission fraction of a transparent construction must be in the range of 0.0 to 1.0. | Check and adjust resources construction window
Id264 | The convection coefficients in the resistance network of the transparent construction are incorrect. | Check and adjust resources construction window
Id265 | The radiation coefficients in the resistance network of the transparent construction are incorrect. | Check and adjust resources construction window
Id266 | The air-exchange coefficients in the resistance network of the transparent construction are incorrect. | Check and adjust resources construction window
Id267 | The absorption coefficients in the resistance network of the transparent construction are incorrect. | Check and adjust resources construction window
Id268 | The sum of transmission and absorption in the resistance network of the transparent construction is greater that 1.0. | Check and adjust resources construction window
Id269 | The g fraction of the transparent construction cannot be determined from resistance network. | Check and adjust resources construction window
Id270 | The u value of the transparent construction cannot be determined from resistance network. | Check and adjust resources construction window
Id271 | The absorption fraction of a transparent construction must be in the range of 0.0 to 1.0. | Check and adjust resources construction window
Id272 | The sum of transmission and absorption of the transparent construction is greater that 1.0. | Check and adjust resources construction window
Id273 | It's not possible to split the window since the window does not have double panes. | Check and adjust resources construction window
Id274 | Glazing-blinds system does not have two panes. | Check and adjust resources construction window
Id275 | Blinds between panes is not possible with single glazing. | Check and adjust resources construction window
Id277 | The cell is not adjacent to the face of the geometry engine. | Send the project and the report to elements@vabi.nl
Id280 | A transparent construction does not have a covering type. | Check and adjust resources construction window
Id281 | The construction layer has no material data. | Resources construction, build the structure from material layers
Id282 | The covering type of the layered construction cannot be determined, since no layers are present. | Resources construction, build the structure from material layers
Id283 | Only predefined thermal-mass types are supported. | Check resources materials
Id285 | Climate window with blinds is not supported. | Check and adjust resources construction window
Id286 | Missing blinds data in a transparent construction with blinds. | Check and adjust resources construction window
Id287 | Room '{0}' is not adjacent to building part '{1}'. | Send the project and the report to elements@vabi.nl
Id288 | The building part is an internal part. Therefore, the boundary-conditions determination requires a room to be specified. | You can not adjust adjacencies of internal walls or floors
Id289 | The building part does not have a construction. | Constructions are still undefined in the properties building parts, complete the architectural template with these constructions and check that the template is linked to the rooms
Id290 | Layered construction of building part '{0}' has no data. | Check named construction at resources
Id291 | Opaque construction of building part '{0}' has no data. | Check named construction at resources
Id293 | Energy carrier of a CHP-driven absorption chiller is undetermined. Use the energy carrier of the associated CHP unit for room heating or combi heating. | Resources, generation, check energy carrier
Id303 | The air-temperature heating curve is undefined. | Resources air handling, check air distribution
Id304 | Day-night mode 'night ventilation' is not allowed for temperature curves. | Resources air handling, check air distribution
Id305 | It's not possible to create a temperature curve, since the number of outside-air temperature points and outlet-air temperature points are not equal. | Resources air handling, check air distribution
Id306 | The AHU has no curve of the outlet-air temperature. | Resources air handling, check air distribution
Id307 | The distribution has no specification of the water temperature. | Resources distribution, check temperature
Id308 | It's not possible to determine a distribution temperature curve, since the distribution net is not specified. | Templates HVAC, is the device connected to a distribution?
Id309 | It's not possible to create a temperature curve, since the number of outside-air temperature points and water-temperature points are not equal. | Resources distribution, check temperature
Id310 | The energy carrier for a heat exchanger with storage in a collective indirect DHW system, depends on the room-heating generators. | Resources, generation, check energy carrier
Id311 | The energy carrier for a heat exchanger without storage in a collective indirect DHW system, depends on other DHW generators. | Resources, generation, check energy carrier
Id312 | Energy carrier of emission device '{0}' is undetermined, since it is not a local device. | Templates HVAC, check the device
Id313 | Heat-generator type of emission device '{0}' is undetermined, since it is not a local device. | Templates HVAC, check the device
Id314 | Time of day 'night ventilation' is not possible for emission devices. | Templates HVAC, check the device
Id315 | The generation system is no DHW system. | Resources generation check if there is a domestic hot water generator
Id316 | The DHW generation system has an undefined type. | Resources generation check if there is a domestic hot water generator
Id317 | The DHW generation system with external heat source consists of more than one generator. | Resources generation check if there is a domestic hot water generator
Id318 | The DHW generation system is a collective indirect system with storage without DHW generators. | Resources generation check if there is a domestic hot water generator
Id319 | The DHW generation system is a collective indirect system with more than one heat exchanger. | Resources generation
Id320 | The DHW generation system is a collective indirect system without storage without any combi generator. | Resources generation check if there is a domestic hot water generator
Id321 | The DHW generation system is a collective indirect system without storage with more than one heat exchanger. | Resources generation
Id322 | The DHW generation system is a collective direct system but with other DHW generator types as well. | Resources generation
Id323 | The DHW generation system is an individual assembled system based on a solar generator with external gas reheat but without DHW or combi reheater. | Resources generation
Id324 | The DHW generation system is an individual assembled system based on a solar generator with internal gas reheat but without combi reheater. | Resources generation
Id325 | The DHW generation system is an individual assembled system based on a solar generator with electrical reheat but with other reheaters as well. | Resources generation
Id326 | The DHW generation system contains more than one solar energy system. | Resources generation
Id327 | An individual assembled heat pump is individual complete as well. | Resources generation
Id328 | The DHW generation system is an individual assembled system based on a heat pump with external serial reheat but without DHW or combi reheater. | Resources generation
Id329 | The DHW generation system is an individual assembled system based on a heat pump with external parallel reheat but without combi reheater. | Resources generation
Id330 | The DHW generation system contains more than one heat pump. | Resources generation
Id332 | Heat-recovery efficiency is not supported for this calculation module. | Resources air handling, heat recovery
Id333 | Default bypass factor of a partial heat-recovery bypass type is not defined. | Resources air handling, heat recovery
Id334 | HVAC system '{0}' is not associated to a project. | Template HVAC
Id335 | The setpoint temperature is not specified for time-of-day mode 'night ventilation'. | Template HVAC
Id336 | A solar-energy system cannot be associated to a cold generator | Resources generation
Id338 | A user-defined activity type has no predefined metabolism value. | Resources Internal Heat Gains: People, choose Activity (MET)
Id339 | No default mass factor available when user-defined. | Resources constructions Input RC and mass or lmaterial layers
Id340 | Wizard data for the reheat for a non-residential building are not available. | Templates Room requirements, Reheat sutchange, make sure the values are available from the tables in ISSO
Id341 | Wizard data for the reheat for a residential building are not available. | Templates Room requirements, Reheat sutchange, make sure the values are available from the tables in ISSO
Id342 | Reheat wizard for a non-residential building misses information. | Templates Room requirements, Reheat sutchange, make sure the values are available from the tables in ISSO
Id343 | Room has no volume. | Because the thickness of walls and floors is deducted to determine the content, a volume of 0m³ can be created, this can be checked in the statistics of heat loss. Often these are shaft spaces, etc.
Id345 | Ventilation type is not based on the building decree. | Ventilation template
Id346 | Calculation of the flow rate of the total ventilation based on the building decree is not supported. | Fill in ventilation amounts yourself in the ventilation template
Id347 | The building has no requirement property. | Are there templates for building requirements and are they linked to the buildings for properties building?
Id348 | The building has no control property. | Are there templates for buildingoperation and are they linked to the buildings for properties building?
Id349 | The room has no architectural property. | Template available? Linked to the rooms in properties rooms?
Id350 | The room has no emission property. | Template available? Linked to the rooms in properties rooms?
Id351 | The room has no organization property. | Template available? Linked to the rooms in properties rooms?
Id352 | The room has no requirement property. | Template available? Linked to the rooms in properties rooms?
Id353 | The room has no ventilation property. | Template available? Linked to the rooms in properties rooms?
Id354 | The room has no emission property for DHW. | Template available? Linked to the rooms in properties rooms?
Id355 | The room has no design temperatures. | Are there temperatures in the Room requirements template?
Id356 | The room has no design conditions. | Are there temperatures in the Room requirements template?
Id357 | A bivalent heat pump can not have an integrated heating coil. | Resources generation
Id358 | Room does not have any floor area | Because the thickness of walls is deducted to determine the surface area, a surface area of 0m² can be created, this can be checked in the statistics of heat loss. Often these are shaft spaces, etc. Another cause may be that the floor runs under a slope and is therefore seen as a wall.
Id360 | Error in the geometry of room: '{0}' ({1}) Room is removed. | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id361 | Geometrical error in room: '{0}' ({1}) {2} | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id362 | Room in room detected: '{0}' ({1}) and '{2}' ({3}) | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id363 | An error occured while searching for partitions between rooms: '{0}' ({1}) and '{2}' ({3}) (room: '{4}' ({5}) is damaged) | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id364 | An error occured while optimizing room: '{0}' ({1}) | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id365 | CheckForOverlappingEdges() bailed out! Possible structural damage in a cell! | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id366 | Action is undone | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id367 | Geometry synchronization with the project file failed. | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id368 | Geometry import from the project file failed. | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id369 | Import completed. {0}/{1} rooms imported successfully. | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id370 | There is a line drawn with a length less than 50 mm. | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id371 | One of the dimensions of the space is less than 50 mm. This value seems incorrect, the room is not used. | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id372 | Cross section not supported by hardware | Under Tools, preferences, change the 3D rendering system. Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id373 | 'Room merge' failed. | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id374 | 'Split room' failed. | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id375 | Unable to add subface. Main face has an opening. | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id376 | Unable to add subface. Subface does not fit in the main face. | Check the geometry, if in doubt, send the project and a description to elements@vabi.nl
Id386 | Error while writing to file: '{0}' | Check if you can create a new file in the folder where this file can be saved. If not, you don't have the necessary permissions in this folder
Id387 | Geometry successfully exported to file '{0}' | Geometry has been exported
Id388 | Error while processing wall of room '{0}' | Restart the program and open the project from within the program.
Id389 | Room '{0}' contains two or more comfort points. The first comfort point in the list is taken. | There can only be one comfort point per room
Id390 | Cannot de-serialize the data, associated with definition '{0}', probably because the project model has changed since the last save. The data will be cleared. | Restart the program and open the project from within the program.
Id391 | File '{0}' has an unknown format | Restart the program and open the project from within the program.
Id392 | Window '{0}' in room '{1}' cannot be split into a frame and a glass part (likely too small or too complex geometry). The calculation assumes 100% glass and continues. | Check the specified frame thickness in Resources construction
Id393 | Room '{0}' has no operation schedule; the calculation assumes an empty schedule. | A timetable is linked in the template Room requirements
Id394 | Unable to open the central library since folder '{0}' was not found. You can adjust the path to the central library file in the screen 'Preferences' under 'File Locations' tab. | Under Tools File locations, choose to choose the right library
Id395 | Unable to open the central library since file '{0}' was not found. You can adjust the path to the central library file in the screen 'Preferences' under 'File Locations' tab. | Under Tools File locations, choose to choose the right library
Id396 | Unable to open the central library since it's location is unknown. You can set the path to the central library file in the screen 'Preferences' under 'File Locations' tab. | Under Tools File locations, choose to choose the right library
Id397 | The window, door or other sub-surface, specified by percentage, cannot be placed. The surface possibly already contains windows, doors or other sub-surfaces. | A sub-surface must fit into the construction, check the dimensions
Id398 | Failed to open the central library. | Under Tools File locations, choose to choose the right library
Id399 | An error occurred while initializing module '{0}'. | Activate module Tools, Software activation
Id400 | Cannot create valid rooms. | Check the geometry for red dots, send the project and the notification to elements@vabi.nl
Id401 | Conditional night cooling of type '{0}' in air handling '{1}' is not possible without mechanical supply; the calculation takes night cooling with outside air | Resources Air handling, chack Mechanical supply
Id402 | Emission device '{1}' in room '{0}' is skipped in the calculation, as the maximum number of devices has been reached. | Total number of devices for heating and/or cooling is 2, so in case of 3 devices, the device that was created last is ignored
Id403 | Emission device '{1}' in room '{0}' is located in the floor without any thermally-active construction present. | For floor heating,- cooling, BKA and a cooling ceiling, it is necessary to tick in which material layer the "source" is located in the Resources construction
Id404 | Emission device '{1}' in room '{0}' is located in the ceiling without any thermally-active construction present. | For floor heating,- cooling, BKA and a cooling ceiling, it is necessary to tick in which material layer the "source" is located in the Resources construction
Id405 | Emission device '{1}' in room '{0}' is located in the wall; the calculation does not yet support wall heating; use a '{2}' instead. | Unfortunately, wall heating is not (yet) possible
Id408 | Distribution net '{0}' is not connected to a generation resource or to a generation resource of the wrong type. | Resources Distribution, check connected Generation
Id409 | The heating coil of AHU '{0}' is not connected to a distribution net or to a distribution net of the wrong type. | Resources, Air handling, coil, check connected Distibution
Id410 | The cooling coil of AHU '{0}' is not connected to a distribution net or to a distribution net of the wrong type. | Resources, Air handling, coil, check connected Distibution
Id411 | Room '{0}' has a VAV emission device but the attached air handling resource does not support VAV. | Check the room: does the linked template HVAC have an AHU with a speed-controlled supply fan? Resources Air handling
Id412 | Emission device '{1}' in room '{0}' is not connected to a distribution net or to a distribution net of the wrong type. | Template HVAC check connected Distribution
Id413 | The calculation does not support {0} of value '{1}'; value '{2}' is used instead. | Named device is not possible in the calculation, choose a device that is supported in template HVAC
Id414 | The control room for AHU '{0}' is undetermined, since the AHU is not coupled to a control room that is calculated; the calculation takes as control room another room that is connected to this AHU. | Properties, Temperature control rooms, choose a Control room. It is necessary to click at the room.
Id415 | There are multiple control rooms for AHU '{0}'; the calculation takes as control room the first available room. | Properties, Temperature control rooms, choose a Control room. It is necessary to click at the room.
Id416 | The control room for AHU '{0}' is not connected to this AHU. | Properties, Temperature control rooms, choose a Control room. It is necessary to click at the room.
Id417 | This project has become corrupt and is saved under the name {0}. Use a backup project or contact Vabi if you wish to restore this project. | Open the backup project
Id418 | Room '{0}' has VAV air supply but no local VAV unit; the mapping assumes that the ventilation flow rate is not controlled. | Template HVAC: is there a deliberate lack of a VAV here?
Id419 | Room '{0}' has no air handling. | Template HVAC: is there a connected AHU? Template ventilation: value Flow rate?
Id420 | Room '{0}' has more than {1} thermally-active emission devices. | Template HVAC, this template cannot have multiple thermally-active devices. For example, floor heating and floor cooling cannot both be chosen, in which case bka or an alternative must be chosen. 4-pipe climate ceiling is possible, that has no "source in construction"
Id422 | Table '{0}' is predefined and therefore read-only; make a copy of the table if you want to edit its configuration. | The pencil next to a predefined table is grey, if you make a new table with the + or copy a table with ++ you can edit the table
Id423 | Table '{0}' is predefined and therefore cannot be deleted. | Predefined tables cannot be edited or deleted
Id425 | Definition '{0}' is used in at least two modules ('{1}' and '{2}'). This is not allowed for this type of definition. | Restart the program and open the project from within the program.
Id426 | Member definition '{0}' is used in at least two result definitions ('{1}' and '{2}'). This is not allowed. | Restart the program and open the project from within the program.
Id427 | Cannot de-serialize the aspect, associated with definition '{0}', probably because the aspect model has changed since the last save. The aspect will be cleared. | Restart the program and open the project from within the program.
Id428 | While reading file {1}, an error occurred just after room {0}. | Restart the program and open the project from within the program.
Id429 | An unknown problem occured. | Restart the program and open the project from within the program.
Id430 | Fout bij geheugentoewijzing; array {0} | Restart the program and open the project from within the program.
Id431 | Fout bij openen bestand {0} om te lezen/schrijven etc | Restart the program and open the project from within the program.
Id432 | Berekening wordt niet uitgevoerd vanwege fouten in de invoer | Send project and notification to elements@vabi.nl |  | 430
Id433 | Aantal vertrekken is groter dan toegestaan, NV={0}, MAXV={1} | Send project and notification to elements@vabi.nl |  | 639
Id434 | Aantal constructies is groter dan toegestaan. MAXCONS ={0} | Send project and notification to elements@vabi.nl
Id435 | Aantal lagen constructie altijd kleiner dan MAXL. MAXL = {0} | Check Resources constructions for maximum number of layers and reduce the number of layers
Id436 | Aantal wandmatrices is groter dan toegestaan. NMAT =,{0} , MAXMAT = {1} | Send the project and the report to elements@vabi.nl
Id437 | Aantal orientaties is groter dan toegestaan. MAXOR ={0} | Check this in the geometry. Rounding can make it seem like there are many different orientations. Clearly visible when building parts are filtered according to orientation in Properties building parts
Id438 | Aantal orientaties NIOR is groter dan 50, namelijk NIOR ={0}. Waarschijnlijk tgv ronde vormen in gebouw, die middels tekening vanuit CAD zijn ingelezen. NIOR groter dan 50 is toegestaan, doch ......... - kan leiden tot (zeer) lange rekentijden!! - geeft geen signifikant hogere nauwkeurigheid!! | Check this in the geometry. Rounding can make it seem like there are many different orientations. Clearly visible when building parts are filtered according to orientation in Properties building parts
Id439 | Aantal straalbundels is groter dan toegestaan. MAXSB ={0}. Er treden nu NSB {1} straalbundels op | Send project and notification to elements@vabi.nl
Id440 | Aantal uitvoerparameters-Centraal is groter dan toegestaan. MAXCEP ={0}. Er worden nu NCEPAR {1} parameters gebruikt | Send project and notification to elements@vabi.nl
Id441 | Aantal uitvoerparameters-Lokaal is groter dan toegestaan. MAXLOP ={0}. Er worden nu NLOPAR {1} parameters gebruikt | Send project and notification to elements@vabi.nl
Id442 | Rekenperiode is langer dan toegestaan. Rekenperiode is langer dan {0} jaar. Toegestaan is {1} jaar | Project data environment, check if the calculation period is longer than one year, change this to a maximum of one year
Id443 | Regelen op ATG - niet consistente invoer. IREGLC groter dan 10. IREGLC={0} | Send project and notification to elements@vabi.nl
Id444 | Regelen op ATG - niet consistente invoer. IREGLC is niet consistent met IATG. IREGLC={0}, IATG ={1} | Send project and notification to elements@vabi.nl
Id445 | Regelen op ATG - niet consistente invoer. IREGLC is niet consistent met IATGKL. IREGLC={0}, IATGKL ={1} | Send project and notification to elements@vabi.nl
Id446 | Opgegeven is ventilatiestromen berekenen, echter geen spleten/kieren ingevoerd | Send project and notification to elements@vabi.nl
Id447 | Integrity check of the input for the calculation engine failed | Send project and notification to elements@vabi.nl
Id448 | Testlicentie van programma is niet meer geldig | Free license period has expired, purchase software or try to get new trial
Id449 | Parameter INTUBE heeft een onjuiste waarde. Parameter INTUBE dient -1, 0 of +1 te zijn | Send project and notification to elements@vabi.nl
Id450 | LET OP!!! Onbeveiligde versie! | Send project and notification to elements@vabi.nl
Id451 | Aantal vlakken, waarop aan de buitenkant zon valt, groter dan maximaal opgegeven. Opslag gelezen data in arrays gaat buiten grenzen | Check this in the geometry. Rounding can make it seem like there are many different orientations. Clearly visible when building parts are filtered according to orientation in Properties building parts
Id452 | Programma stopt - Subroutine pschrom.f. Dry Bulb Temperature in K negatief | This message indicates moisture problems and can have various causes: too many people, too little ventilation, too low temperature, steel in construction, not realistic U-value. Check this, for example, turn off the HRV to ensure that calculations are made to find out in which room the problem occurs. Otherwise, send the project.
Id453 | Vochtproduktie in vertrek en geen of onvoldoende ventilatie (mechanisch of infiltratie). Vochtgehalte in vertrek gaat ruim boven 100%. Is niet reele situatie. | This report also points to moisture problems: too many people, too little ventilation, too low temperature
Id454 | Aantal vlakken, waarop door ramen binnenkomende zon valt, groter dan maximaal opgegeven. Opslag gelezen data in arrays gaat buiten grenzen | Check this in the geometry. Rounding can make it seem like there are many different orientations. Clearly visible when building parts are filtered according to orientation in Properties building parts
Id455 | Aantal iteraties DIS-loop groter dan NITERDIS. Opwekker kan gevraagde vermogen niet leveren! Uitkomsten dit uur kunnen onbetrouwbaar zijn. Deze DIS-loopmelding kan veelvuldig optreden in de volgende situatie: Bron in constructie na een aanzienlijke nacht-/weekendverlaging(/-verhoging) aldan niet in combinatie met een relatief hoge (/lage) wateraanvoertemperatuur. Vaak zonder LBK en andere lokale apparaten. Vraag : is deze ingevoerde situatie reeel? Oplossing: maak situatie meer reeel. Opmerking: het automatisch bepaalde vermogen is gebaseerd op geinstalleerde vermogens van centrale batterij en en lokale LVK1 resp. LVK2; plaats zonodig deze apparaten/verhoog zonodig vermogens batterijen/LVK1 | If the generator, the batteries in the air handling unit and/or the delivery devices use unlimited powers, this message may occur. Check whether the ratio between the assets is realistic
Id456 | Foute invoer van stooklijn. Buitentemperaturen moeten oplopend zijn opgegeven, dit is niet het geval. Stooklijn wordt hierop aangepast | Resources Distribution, chack heating curve
Id457 | Verkeerde waarde van IATG (=0,1 of 2). Berekening wordt afgebroken | Send project and notification to elements@vabi.nl
Id458 | Berekening volgens ATG-lijn met discrete waarden 65,80,90,100. Opgegeven waarden zijn niet discreet! | Send project and notification to elements@vabi.nl
Id459 | Extreme temperaturen, programma stopt - Subroutine Weeguren.f | There are rooms where it gets extremely hot, find out which room this could be by checking and unchecking rooms inproperties rooms calculate yes/no
Id460 | Beschikbare weerband is geen geheel jaar. Rekenperiode gaat voorbij einde band. Rekenperiode wordt aangepast: NDAG={0} | Check in the project data environment whether the calculation period is within the climate file. Send the project and the report to elements@vabi.nl
Id461 | Opgegeven onderlinge uitwisseling via net. Dan moeten er meerdere ww- en kw-netten zijn. Dit is niet het geval. NNETWW={0} en NNETKW={1} | Send project and notification to elements@vabi.nl
Id462 | Onjuiste waarde voor IWSTR: IWSTR={0}. Voor gevoeligheidsstudie vul in IWSTR=11 | Send project and notification to elements@vabi.nl
Id463 | Van IEA43MZ-GC-ME-DSF meer dan 1 # 0!! Dit is niet mogelijk; zorg dat maar 1 # 0 | Send project and notification to elements@vabi.nl
Id464 | Not all factors (view factors, shading factors, internal sun distribution) are available | Send project and notification to elements@vabi.nl
Id465 | Opgegeven onderlinge uitwisseling via netten waarbij meerdere apparaten aan hetzelfde net zijn gekoppeld. Dit is niet toegestaan | Send project and notification to elements@vabi.nl
Id466 | Voor de bedrijfstijden luchtbehandeling is een Id opgegeven van {0} welke niet voorkomt | In template HVAC, the air handling unit is linked and an time schedule, check this
Id467 | Bij bron in constructie - een 2-pijps systeem - is voor de karakterisering alleen opgave van het verwarm- of het koelvermogen nodig. Beide vermogens zijn nu via de invoer opgegeven! Het programma gebruikt van deze 2 alleen het opgegeven koelvermogen. Hiermee gebeurt de karakterisering. Het verwarmvermogen wordt berekend ahv deze karakteristieken. Opm: een eventuele eerdere melding mbt het verwarmvermogen kan worden genegeerd | For a thermally active floor (bka system), you can specify both cooling and heating in the specifications, but the specification for cooling is used to specify the floor
Id468 | Vervallen | Dilapidated
Id469 | Opgegeven luchtbehandeling voor de ruimte niet correct opgegeven | Template HVAC, which air handling unit is linked?
Id470 | Het type afgifteapparaat is niet correct opgegeven | Template HVAC, which device is linked?
Id471 | Opgegeven warmwaternet voor afgifteapparaat in de ruimte niet correct opgegeven | Template HVAC, the device is connected to a distribution, check the net HT? LT?
Id472 | Opgegeven koudwaternet voor afgifteapparaat in de ruimte niet correct opgegeven | Template HVAC, the device is connected to a distribution, check the net HT? LT?
Id473 | Bron in constructie opgegeven voor alleen verwarmen of alleen koelen. Er is echter geen setpoint aan de bron toegekend, Dit is niet mogelijk; geef setpoint op | Template HVAC, choose the setpoint
Id474 | Afgifte in constructie fout opgegeven na laag, die niet aanwezig is! Aantal wandlagen aanwezig {0}; opgave bron na wandlaag {1} | Check resources construction, which layer is checked as active layer. Only one layer can be active
Id475 | Afgifte in deurconstructie fout opgegeven na laag, die niet aanwezig is! Aantal wandlagen aanwezig {0}; opgave bron na wandlaag {1} | Check resources construction, which layers are specified at the door
Id476 | Verwarmingsvermogen van afgifteapparaat kleiner dan 0 opgegeven | Template HVAC, check heating power
Id477 | Voor verwarming is de waterretourtemperatuur hoger opgegeven dan de wateraanvoertemperatuur; waterretourtemperatuur {0:0.0} en wateraanvoertemperatuur {1:0.0} grC | Template HVAC, check specifications
Id478 | Voor verwarming is de wateraanvoertemperatuur lager opgegeven dan de omgevingstemperatuur; wateraanvoertemperatuur {0:0.0} en omgevingstemperatuur {1:0.0} grC | Template HVAC, check specifications
Id479 | Voor verwarming is de waterretourtemperatuur lager opgegeven dan de omgevingstemperatuur; waterretourtemperatuur {0:0.0} en omgevingstemperatuur {1:0.0} grC | Template HVAC, check specifications
Id480 | Voor verwarming tweede constructie met bron opgegeven in de ruimte. Dit is niet mogelijk. Afgegeven vermogen in W/m² per K is {0:0.00}; voor de eerste constructie is dit {1:0.00} | There can only be one active layer in a structure, so only one of them is counted on
Id481 | Afgifte in constructie verwarming, opgegeven vermogen {0:0.0}, berekende max. vermogen {1:0.0} W/m²; er wordt gerekend met het max. vermogen | Based on the specifications, the environment and the structure of the structure, the maximum possible power is calculated, if this is lower than specified, the maximum possible value is applied
Id482 | Koelvermogen van afgifteapparaat kleiner dan 0 opgegeven | Template HVAC, check cooling power
Id483 | Voor koeling is de waterretourtemperatuur lager opgegeven dan de wateraanvoertemperatuur; waterretourtemperatuur {0:0.0} en wateraanvoertemperatuur {1:0.0} grC | Template HVAC, check specifications
Id484 | Voor koeling is de wateraanvoertemperatuur hoger opgegeven dan de omgevingstemperatuur; wateraanvoertemperatuur {0:0.0} en omgevingstemperatuur {1:0.0} grC | Template HVAC, check specifications
Id485 | Voor koeling is de waterretourtemperatuur hoger opgegeven dan de omgevingstemperatuur; waterretourtemperatuur {0:0.0} en omgevingstemperatuur {1:0.0} grC | Template HVAC, check specifications
Id486 | Voor koeling tweede constructie met bron opgegeven in de ruimte. Dit is niet mogelijk. Afgegeven vermogen in W/m2 per K is {0:0.00}; voor de eerste constructie is dit {1:0.00} | There can only be one active layer in a structure, so only one of them is counted on
Id487 | Afgifte in constructie koeling, opgegeven vermogen {0:0.0}, berekende max. vermogen {1:0.0} W/m2; er wordt gerekend met het max. vermogen | Based on the specifications, the environment and the structure of the structure, the maximum possible power is calculated, if this is lower than specified, the maximum possible value is applied
Id488 | 2-pijpssysteem, verwarmingsvermogen bepaald door het gespecificeerde koelvermogen. Verwarmingsvermogen {0:0.0} W/m2 | For a thermally active floor (bka system), you can specify both cooling and heating in the specifications, but the specification for cooling is used to specify the floor
Id489 | 2-pijpssysteem, koelvermogen {0:0.0} W/m2 | The cooling capacity that will be used to calculate
Id490 | Voor de bron in constructie is het debiet voor koelen anders dan voor verwarmen | Explanation of why heating capacity is related to cooling capacity
Id491 | Voor afgifte-apparaat is setpoint verwarming hoger opgegeven dan setpoint koeling. Setpoint verwarming {0:0.0} en setpoint koeling {1:0.0} grC; bedrijfswijze {2} | Template HVAC, check setpoints, user defined
Id492 | Bron in meerdere vlakken is toegestaan. Ze moeten echter dezelfde constructie hebben en dit is niet het geval in de ruimte | Sometimes part of the floor is above outside air, in which case this message can occur. The solution is to separate this part of the room as a separate room
Id493 | Betreft VAV apparaat. Verwarmsetpoint is hoger dan koelsetpoint. Dat is niet mogelijk. Setpoint verwarming {0:0.0}, setpoint koeling {1:0.0} grC. Bedrijfswijze {2} | Template HVAC, check setpoints, user defined
Id494 | Betreft VAV-apparaat. Min. CO2-setpoint niet in range 10-380 ppm! Dat is niet mogelijk. Setpoint CO2-minimum = {0:0} ppm, bedrijfswijze ={1} | Template HVAC, check setpoints, user defined
Id495 | Betreft VAV-apparaat. Max. CO2-setpoint lager dan 400 ppm! Dat is niet mogelijk. Setpoint CO2-maximum = {0:0} ppm, bedrijfswijze ={1} | Template HVAC, check setpoints, user defined
Id496 | Fout debiet separate afzuiging bedrijfswijze {0}. Voor dit type klimaatraam ({1}) dient separate afzuiging 0 te zijn | Send project and notification to elements@vabi.nl
Id497 | Fout debiet separate afzuiging bedrijfswijze {0}. Voor dit type klimaatraam ({1}) dient separate afzuiging kleiner dan {2:0.0} m³/h te zijn | Send project and notification to elements@vabi.nl
Id498 | Fout in de opgegeven debieten voor bedrijfswijze {0}. Afvoer uit vertrek bij min. stand = {1:0.0}, Separate afzuiging uit vertrek = {2:0.0} m³/h. Oplossing: Of separate afzuiging lager dan = {3:0.0} m3/h, of min. stand VAV-klep verhogen tot = {4:0.0} | Send project and notification to elements@vabi.nl
Id499 | Opgegeven onbalans klopt niet met opgegeven inblaas en onttrekking voor bedrijfswijze {0}. DELTA-1={1:0.0}, ONBMVE={2:0.0}, VENTME={3:0.0} en VENTMO={4:0.0} m³/h | Send project and notification to elements@vabi.nl
Id500 | Opgegeven ventilatie onbalans is niet gelijk aan ventilatie naar de aangrenzende ruimten voor bedrijfswijze {0} | Send project and notification to elements@vabi.nl
Id501 | Fout dag {0}, maand {1}, uur {2}. Programma stopt - Subroutine Comfor.f. Fout heeft niets met comfortmodel te maken; door andere fout is een temperatuur NaN!!; Function in de subroutine kan dit niet aan; | A problem arises with temperature. Are the temperatures in the distribution networks and specifications of AHU and delivery correct? Send the project and the report to elements@vabi.nl
Id502 | Ruimte heeft geen vloer. Dit is een fout in de berekening en waarschijnlijk niet in de invoer | Because the thickness of walls is deducted to determine the surface area, a surface area of 0m² can be created, this can be checked in the statistics of heat loss. Often these are shaft spaces, etc. Another cause may be that the floor runs under a slope and is therefore seen as a wall.
Id503 | Vervallen | Dilapidated
Id504 | Vervallen | Dilapidated
Id505 | De door te rekenen ruimten hebben luchtuitwisseling met andere ruimten die niet worden doorgerekend, reken de andere ruimten ook door. | Air exchange has been introduced. You can check this by turning on the ventilation flows module and viewing the results. If there is an exchange between rooms, then these rooms must all be part of the calculation
Id506 | Bron in constructie met verwarmen en koelen. Temperatuur warmwaternet ongelijk koudwaternet. Temperatuur warmwaternet={0:0.0}, temperatuur koudwaternet={1:0.0} grC. Maak zonodig beide stooklijnen gelijk | Send project and notification to elements@vabi.nl
Id507 | INTUBEnr-file {0} voor ruimte niet aanwezig. RUN eerst optie INTUBE= -1 om files aan te maken | Restart the program and open the project from within the program.
Id508 | Ruimte heeft geen vloer. Dit is een fout in de berekening en waarschijnlijk niet in de invoer | Because the thickness of walls is deducted to determine the surface area, a surface area of 0m² can be created, this can be checked in the statistics of heat loss. Often these are shaft spaces, etc. Another cause may be that the floor runs under a slope and is therefore seen as a wall.
Id509 | Binnenraam - enkel glas opgegeven als netwerk. Dit is via nivo2 of nivo3. Dit is niet toegestaan!! Opgave eenvoudig U,ZTA,CF | Check resources construction, an interior window may not have blinds
Id510 | Zonwering op. Raam te hoge U-waarde {0:0.00}, U-waarde aangepast naar {1:0.00} W/m².K | Check and adjust resources construction window
Id511 | Zonwering neer. Raam te hoge U-waarde {0:0.00}, U-waarde aangepast naar {1:0.00} W/m².K | Check and adjust resources construction window
Id512 | Ingelezen CF-waarde raam is erg hoog, CF-waarde = {0:0.00}. Klopt deze ingelezen waarde? Maximaal is 0.65-0.75 is mogelijk | Check and adjust resources construction window
Id513 | Zonwering op. Uraam is {0:0.00} W/m².K. Tussenraam te hoge U-waarde. Leidt tot afbreken iteratieproces ITERV. U-waarde aangepast {1:0.00} W/m².K | Check and adjust resources construction window
Id514 | Zonwering neer. Uraam is {0:0.00} W/m².K. Tussenraam te hoge U-waarde. Leidt tot afbreken iteratieproces ITERV. U-waarde aangepast {1:0.00} W/m².K | Check and adjust resources construction window
Id515 | Tussenwand/deur met Ucons groter dan 100 W/m²K. Kan leiden tot afbreken iteratieproces ITERV. Ucons={0:0.00} W/m²K | Check and adjust resources construction
Id516 | Aantal vlakken is groter dan toegestaan, NVLK(IV)={0}, MAXVLK ={1} | Send project and notification to elements@vabi.nl
Id517 | Aantal nodes in constructie is groter dan toegestaan. MAXNOD ={0}. Opm: Buitenste laag/lagen nooit dikker dan 0.20 m; splits zonodig deze laag in tweeen of drieen; Zie verder de Help en zoek op Nodes | Resources construction: check and adjust, outer layers no thicker than 200mm, no more than 10 layers?
Id518 | Opgegeven koppelingen niet consistent met aangrenzende ruimte | Send project and notification to elements@vabi.nl
Id519 | Betreft geventileerd plafond: geen spouw in het plafond aanwezig!! | Have you chosen an Recources Internal Heat Gains: lighting, exhaust lighting? No cavity in roof/ceiling auxiliary construction?
Id520 | Aanwezige en opgegeven spouw wijken af!! Aanwezige spouw wordt aangehouden | Send project and notification to elements@vabi.nl
Id521 | Opgegeven speten niet consistent. Berekening wordt afgebroken | Send project and notification to elements@vabi.nl
Id522 | Foute naam constructie ingevoerd via *.bfy. Naam bevat vreemde tekens | Check and adjust resources construction
Id523 | Constructielaag-geleiding=0.0 / negatief | Check and adjust resources construction
Id524 | Binnenraam kan geen Klimaatraam zijn. Aanname: Binnenraam is gewoon raam | Climate window cannot be used as/in a partition wall, only adjacent to the outside
Id526 | 2 Typen Klimaatraam in 1 vertrek. Dit is niet toegestaan. | Check rooms, use the filter function in properties building parts by room number: filter by room number
Id527 | Fout in ruimte, Constructie niet gevonden | Properties building parts, are there undefined constructions present? Complete the template architectural, link the architectural template to each room
Id528 | Fout in ruimte, Constructie komt meerdere keren voor | Send project and notification to elements@vabi.nl
Id529 | Verwarmingsbatterij te groot, vermogen verwarmingsbatterij wordt aangepast, oud={0:0}, nieuw={1:0} | Check Resources air handling thermal power coil
Id530 | Koelbatterij te groot, vermogen koelbatterij wordt aangepast, oud={0:0}, nieuw={1:0} | Check Resources air handling thermal power coil
Id531 | Stoombevochtiger opgegeven; is niet mogelijk! Genomen is adiabatische bevochtiger: -met functie bevochtiging tot RVMIN -zonder functie koeling door bevochtiging | Check version number under help, elements may need to be updated
Id532 | Adiabatische bevochtiger opgegeven, -met functie bevochtiging tot RVMIN, -met functie koeling door bevochtiging | Check version number under help, elements may need to be updated
Id533 | Het regelvertrek voor de luchtbehandeling is niet correct opgegeven. Voor het regelvertrek wordt nu de eerste ruimte aangehouden | Properties, Temperature control rooms, choose a Control room. It is necessary to click at the room.
Id534 | Warmwaternet niet correct opgegeven | Resources distribution, check the specified temperatures
Id535 | Verwarmbatterij negatief vermogen, vermogen= {0:0} | Send project and notification to elements@vabi.nl
Id536 | Verwarmbatterij Waterretourtemperatuur hoger dan wateraanvoertemperatuur. Waterretourtemperatuur = {0:0.0}, Wateraanvoertemperatuur = {1:0.0} | Resources Air Handling, check the specifications of the coil
Id537 | Verwarmbatterij, Luchttemperatuur aan de uitgang is lager dan luchttemperatuur aan ingang. Luchttemperatuur uitgang={0:0.0}, luchttemperatuur ingang {1:0.0} gcC | Resources Air Handling, check the specifications of the coil
Id538 | Verwarmbatterij, Luchttemperatuur aan de uitgang is hoger dan wateraanvoertemperatuur. Luchttemperatuur uitgang={0:0.0}, wateraanvoertemperatuur ingang {1:0.0} gcC | Resources Air Handling, check the specifications of the coil
Id539 | Verwarmbatterij, waterretourtemperatuur is lager dan luchttemperatuur aan ingang.Waterretourtemperatuur={0:0.0}, luchttemperatuur aan ingang {1:0.0} gcC | Resources Air Handling, check the specifications of the coil
Id540 | Koudwaternet niet correct opgegeven | Resources Distribution, chack the temperatures
Id541 | Koelbatterij negatief vermogen, vermogen= {0:0} | Send project and notification to elements@vabi.nl
Id542 | Koelbatterij Waterretourtemperatuur lager dan wateraanvoertemperatuur. Waterretourtemperatuur = {0:0.0}, Wateraanvoertemperatuur = {1:0.0} | Resources Air Handling, check the specifications of the coil
Id543 | Koelbatterij, Luchttemperatuur aan de uitgang is hoger dan luchttemperatuur aan ingang. Luchttemperatuur uitgang={0:0.0}, luchttemperatuur ingang {1:0.0} gcC | Resources Air Handling, check the specifications of the coil
Id544 | Koelbatterij, Luchttemperatuur aan de uitgang is lager dan wateraanvoertemperatuur. Luchttemperatuur uitgang={0:0.0}, wateraanvoertemperatuur ingang {1:0.0} gcC | Resources Air Handling, check the specifications of the coil
Id545 | Koelbatterij, waterretourtemperatuur is hoger dan luchttemperatuur aan ingang.Waterretourtemperatuur={0:0.0}, luchttemperatuur aan ingang {1:0.0} gcC | Resources Air Handling, check the specifications of the coil
Id546 | Koelbatterij, Relatieve vochtigheid lucht aan uitgang dient tussen {0:0} % en {1:0} % te liggen. Ingevoerde RV lucht aan uitgang={2:0} % | Resources Air Handling, check the specifications of the coil
Id547 | Koelbatterij, Relatieve vochtigheid lucht aan uitgang dient {0:0} % te zijn. Ingevoerde RV lucht aan uitgang is {1:0} %. Opmerking: in deze batterij treedt bij de ingevoerde ingangscondities geen condensatie op | Resources Air Handling, check the specifications of the coil
Id548 | Ontvochtigingsbatterij negatief vermogen, vermogen= {0:0} | Send project and notification to elements@vabi.nl
Id549 | Ontvochtigingsbatterij, Waterretourtemperatuur is lager dan wateraanvoertemperatuur. Waterretourtemperatuu {0:0.0}, wateraanvoertemperatuur {1:0.0} grC | Resources Air Handling, check the specifications of the coil
Id550 | Ontvochtigingsbatterij, luchttemperatuur aan uitgang is hoger dan luchttemperatuur aan ingang. Luchttemperatuur uitgang {0:0.0}, luchttemperatuur ingang {1:0.0} grC | Resources Air Handling, check the specifications of the coil
Id551 | Ontvochtigingsbatterij, Luchttemperatuur aan uitgang is lager dan wateraanvoertemperatuur. Luchttemperatuur aan uitgang {0:0.0}, wateraanvoertemperatuur {1:0.0} grC | Resources Air Handling, check the specifications of the coil
Id552 | Ontvochtigingsbatterij, waterretourtemperatuur is hoger dan luchttemperatuur aan ingang. Waterretourtemperatuur {0:0.0}, luchttemperatuur aan ingang {1:0.0} grC | Resources Air Handling, check the specifications of the coil
Id553 | Ontvochtigingsbatterij, Relatieve vochtigheid lucht aan uitgang dient tussen {0:0} % en {1:0} % te liggen. Ingevoerde RV lucht aan uitgang={2:0} % | Resources Air Handling, check the specifications of the coil
Id554 | Ontvochtigingsbatterij, Relatieve vochtigheid lucht aan uitgang dient {0:0} % te zijn. Ingevoerde RV lucht aan uitgang is {1:0} %. Opmerking: in deze batterij treedt bij de ingevoerde ingangscondities geen condensatie op | Resources Air Handling, check the specifications of the coil
Id555 | Ontvochtigingsbatterij te groot, vermogen ontvochtigingsbatterij wordt aangepast, oud={0:0}, nieuw={1:0} | Resources Air Handling, check the specifications of the coil
Id556 | Betreft WTW-apparaat-productgegevens: Primaire en secundaire debieten zijn ongelijk aan elkaar. Primaire debiet = {0:0.0}, Secundaire debiet = {1:0.0} m3/h. Bij productgegevens horen deze gelijk te zijn. Deze debieten worden nu gelijk gemaakt aan de grootste van deze 2. | If there is a difference between the air supply and air return flow rates of an air handling unit, it is assumed that they are the same to determine the efficiency of the HRV (the largest value is used)
Id557 | Betreft WTW-apparaat: Rendement ligt niet tussen 0 en 1. Ingevoerd rendement {0:0.00} | Resources Air handling: check HRV specification
Id558 | Het is niet mogelijk een luchtbehandelingssysteem door te rekenen met zowel VAV als mechanische onbalans. Default alleen VAV | The calculation cannot deal with air exchange if VAV is also present. For the rooms in question, you have to choose either a VAV system or manualy enter air exchange
Id559 | Bij de luchtbehandeling is voor de regeling VAV opgegeven. Het is dan niet mogelijk te rekenen met een klimaatraam/hollandse klimaatgevel. | The calculation cannot deal with climate window if VAV is also present. For the rooms in question, you have to choose either a VAV system or climate window
Id560 | Bij de luchtbehandeling is een mechanische onbalans opgegeven. Het is dan niet mogelijk te rekenen met een klimaatraam/hollandse klimaatgevel. | The calculation cannot deal with Dutch climate facade if VAV is also present. For the rooms in question, you have to choose either a VAV system or Dutch climate facade
Id561 | Berekening met Mechanische Onbalans is niet mogelijk. Oorzaak: Centrale luchtinstallatie afwezig | Send project and notification to elements@vabi.nl
Id562 | Er zit een fout in de opgegeven debieten voor bedrijfswijze {5}. Totale luchtinblaas {0:0.0}, totale luchtonttrekking {1:0.0} en totaal van separate afzuigingen {2:0.0} m3/h. Ingenomen verse lucht verhogen tot {3:0.0} of separate afzuigingen verlagen tot {4:0.0} m3/h | Send project and notification to elements@vabi.nl
Id563 | Fout in de opgegeven debieten voor bedrijfswijze {0}. Totaal ingenomen verse lucht - min.stnd={1:0.00}. Totaal van separate afzuigingen = {2:0.0} m3/h. Oplossing: Of ingenomen min. verse lucht hoger dan={3:0.0}, Of separate afzuigingen lager dan ={4:0.0}, Of min. stand VAV-kleppen hoger: factor={5:0.00} | Send project and notification to elements@vabi.nl
Id564 | Extern luchtbehandelingsprogramma: Debiet in dat programma wijkt af van invoer gebouwsimulatie! | Send project and notification to elements@vabi.nl
Id565 | Verwijzing naar opwekkingsconfiguratie niet correct opgegeven voor warmwaternet | Check Resources distribution, wich Resources Generation is chosen?
Id566 | Distinv.for: verwarmunit aan warmwaternet. Fout in unit- en/of nettemperaturen. ARECWW hoort tussen 0.0 en 1.0 te liggen | Check Template HVAC, wich Resources Distribution is chosen?
Id567 | Verwijzing naar opwekkingsconfiguratie niet correct opgegeven voor koudwaternet | Check Resources distribution, wich Resources Generation is chosen?
Id568 | Distinv.for: koelunit aan koudwaternet. Fout in unit- en/of nettemperaturen. ARECKW hoort tussen 0.0 en 1.0 te liggen | Check Template HVAC, wich Resources Distribution is chosen?
Id569 | Fout: Warmteopwekker. Negatief vermogen= {0:0} | Send project and notification to elements@vabi.nl
Id570 | Fout: Warmteopwekker. Wateraanvoertemperatuur niet reeel. Wateraanvoertemperatuur = {0:0.0} grC. Neem wateraanvoertemperatuur tussen 30 en 100 grC | Resources Generation, check entered values
Id571 | Fout: Warmteopwekker. Waterretourtemperatuur niet reeel bij ingevoerde wateraanvoertemperatuur. Wateraanvoertemperatuur = {0:0.0}, waterretourtemperatuur = {1:0.0}, Omgevingstemperatuur = {2:0.0} grC. Neem waterretourtemperatuur lager dan {3:0.0} en hoger dan {4:0.0} grC | Resources Generation, check entered values
Id572 | Fout: Warmteopwekker. Waterretourtemperatuur niet reeel. Waterretourtemperatuur is hoger dan wateraanvoertemperatuur. Waterretourtemperatuur = {0:0.0}, Wateraanvoertemperatuur = {1:0.0} grC | Resources Generation, check entered values
Id573 | Fout: Warmteopwekker. Omgevingstemperatuur niet reeel. Omgevingstemperatuur = {0:0.0} grC. Neem omgevingstemperatuur tussen 0 en 25 grC | Resources Generation, check entered values
Id574 | Fout: Warmteopwekker. Waterretourtemperatuur lager dan omgevingstemperatuur. Waterretourtemperatuur = {0:0.0}, Omgevingstemperatuur = {1:0.0} grC | Resources Generation, check entered values
Id575 | De ketel is beveiligd op maximaal TWAMAX= 100 grC. Volgens stooklijn is de te maken wateraanvoer temperatuur TWA ={0:0.0} grC. Dit is niet mogelijk! Oorzaak: in een van de warmwaternetten is de wateraanvoertemperatuur te hoog | Resources Generation, check entered values
Id576 | Fout: Koudeopwekker. Positief vermogen = {0:0} | Send project and notification to elements@vabi.nl
Id577 | Fout: Koudeopwekker. Wateraanvoertemperatuur niet reeel. Wateraanvoertemperatuur = {0:0.0} grC. Neem wateraanvoertemperatuur tussen 0 en 15 grC | Resources Generation, check entered values
Id578 | Fout: Koudeopwekker. Waterretourtemperatuur is niet reeel. Wateraanvoertemperatuur = {0:0.0}, Waterretourtemperatuur = {1:0.0} grC. Neem waterretourtemperatuur tussen 1 C en 10 C hoger dan wateraanvoertemperatuur. Neem waterretourtemperatuur hoger dan {2:0.0} en lager dan {3:0.0} grC | Resources Generation, check entered values
Id579 | Fout: Koudeopwekker. Waterretourtemperatuur is lager dan wateraanvoertemperatuur. Waterretourtemperatuur = {0:0.0}, wateraanvoertemperatuur = {1:0.0} grC | Resources Generation, check entered values
Id580 | Fout: Koudeopwekker. Omgevingstemperatuur niet reeel. Omgevingstemperatuur = {0:0.0} grC. Neem omgevingstemperatuur tussen 15 en 25 grC | Resources Generation, check entered values
Id581 | De koelmachine is beveiligd op minimaal TKAMIN= 0.2 grC. Volgens stooklijn is de te maken wateraanvoertemperatuur TKA ={0:0.0} grC. Dit is niet mogelijk! Oorzaak: in een van de koudwaternetten is de wateraanvoertemperatuur te laag | Resources Generation, check entered values
Id582 | Some subfaces could not be changed! | Check geometry, send project and notification to elements@vabi.nl
Id583 | Project file '{0}' has been renamed to '{1}' | Can this be opened?
Id584 | Aantal uitvoerparameters-Opwekkers is groter dan toegestaan. MAXPARO ={0}. Er worden nu NOPAR ={1} parameters gebruikt | Send project and notification to elements@vabi.nl
Id585 | Voor de constructie zijn materiaallagen opgegeven met een dikte van 0; dit is niet toegestaan | Resources construction, check layers for thickness
Id586 | Voor de deurconstructie is meer dan 1 spouw opgegeven; dit is niet toegestaan | Resources construction, check material layers for multiple cavities
Id587 | Voor de warmte-opwekkingsconfiguratie zijn meerdere preferente opwekkers opgegeven. De eerste opwekker wordt nu als preferent meegenomen in de berekening | Resources Generation, check if only one generator is preferent, it has the "pin"
Id588 | Het aantal opgegeven warmte-opwekkers is niet correct | Resources Generation, check the number of generators
Id589 | Gegevens van een warmteopwekker binnen de opwekking zijn niet correct opgegeven. Dit betreft het type opwekker, de energiedrager van de opwekker of de opgave van het rendement. | Resources Generation, check entered values
Id590 | Voor de koude-opwekkingsconfiguratie zijn meerdere preferente opwekkers opgegeven. De eerste opwekker wordt nu als preferent meegenomen in de berekening | Resources Generation, check if only one generator is preferent, it has the "pin"
Id591 | Het aantal opgegeven koude-opwekkers is niet correct | Resources Generation, check the number of generators
Id592 | Gegevens van een koudeopwekker binnen de opwekking zijn niet correct opgegeven. Dit betreft het type (of subtype) opwekker, de energiedrager van de opwekker of de opgave van het rendement. | Resources Generation, check entered values
Id594 | The import/export operation has failed. | No longer applicable: BENG calculation is in the EPA software
Id595 | There is no project file present , first write your project to a file. | Send project and notification to elements@vabi.nl
Id596 | The attempt to generate an e-mail di not succeed. Reason: {0} | When does this report occur? Send the question and possible project to elements@vabi.nl
Id597 | The trace drawing in {0} is too large to use. Size={1} MB | Send notification and drawing to elements@vabi.nl
Id598 | Datum in klimaatbestand correspondeert niet met opgegeven startdag | Check the start day and climate file, project data, environment
Id599 | Startdatum in het klimaatbestand niet gevonden | Check the start day and climate file, project data, environment
Id600 | Voor afgifte-apparaat is setpoint verwarmen gelijk opgegeven aan setpoint koelen. Dit geeft kans op gelijktijdig verwarmen en koelen. Setpoint {0} grC; bedrijfswijze {1} | Template HVAC, check setpoints, user defined
Id601 | Voor afgifte-apparaten verwarming zijn gelijke setpoints opgegeven. Hierdoor is het onduidelijk welk apparaat de warmte levert. Setpoint {0} grC; bedrijfswijze {1} | Template HVAC, check setpoints, user defined
Id602 | Voor afgifte-apparaten koeling zijn gelijke setpoints opgegeven. Hierdoor is het onduidelijk welk apparaat de koude levert. Setpoint {0} grC; bedrijfswijze {1} | Template HVAC, check setpoints, user defined
Id603 | Er is een raam opgegeven met schakelende zonwering en een andere randvoorwaarde dan buitenlucht. Het programma rekent met zonwering op! | Send project and notification to elements@vabi.nl
Id604 | Cluster '{0}' is predefined and therefore cannot be deleted. | Send project and notification to elements@vabi.nl
Id605 | Cluster '{0}' cannot be exported to Excel since file '{1}' is blocked. Check the access rights or check whether the file is in use by another process. | Send project and notification to elements@vabi.nl
Id606 | Cluster '{0}' cannot be exported to Excel file '{1}' because the Excel workbook cannot be saved. | Send project and notification to elements@vabi.nl
Id607 | The export to Excel of cluster '{0}' contains no data. Excel file '{1}' is not created. | Send project and notification to elements@vabi.nl
Id608 | Cluster '{0}' is predefined and therefore cannot be edited. | Send project and notification to elements@vabi.nl
Id609 | Solar energy system '{0}' is treated as a boiler in building simulation | Building simulation does not have the ability to use solar energy as a generator, please choose another generation
Id610 | Cannot calculate the KPI mark for result type '{0}' since the KPI values for Norm and Ambition are equal; reverting to the previous value | In results at performance dashboard, choose table instead of performance (top right) and enter appropriate values
Id611 | Room '{0}' is associated to more than one group of type '{1}'. Contact Vabi for help to restore the project. | Send project and notification to elements@vabi.nl
Id612 | The KPI value (for Norm or Ambition) for result type '{0}' is not valid; reverting to the previous value | In results at performance dashboard, choose table instead of performance (top right) and enter appropriate values
Id613 | Voor afgifte-apparaat is setpoint verwarming hoger opgegeven dan setpoint koeling. Setpoint verwarming {0:0.0} en setpoint koeling {1:0.0} grC; bedrijfswijze {2} | Template HVAC, check setpoints, user defined
Id614 | Keuze grondwaterspiegel 'Tegen de vloer' niet meer van toepassing bij berekeningen volgens ISSO 2017. Er wordt gerekend met 'Tussen 0 en 1 m onder vloerniveau' | Check version of the software under Help, the software may need to be updated
Id615 | Interne fout | Send project and notification to elements@vabi.nl
Id616 | Gebouwafmetingen niet opgegeven | Send project and notification to elements@vabi.nl
Id617 | De opwarmtoeslag is niet correct opgegeven. De functie in het sjabloon "Ruimte-eisen" komt niet overeen met het sjabloon "Gebruik". De opwarmtoeslag wordt bepaald aan de hand van schema's in de publicaties. | In template use, a usage function is chosen. In the template Room requirements, a usage function is also chosen if a reheat surcharge applies. Both of these functions must be the same. So check the linked templates for the rooms, use and Room requirements
Id618 | Combinatie opwarmtijd en nachtverlaging is onrealistisch voor bepaling opwarmtoeslag volgens tabel 4.9 ISSO 51 (2017) | Template Room requirements, night set-back, entered values must appear in the table in ISSO, adjust values
Id619 | Specifieke toeslag bepaald aan de hand van tabel 4.12 ISSO 53 uitgave 2017 niet toegestaan | Template Room requirements, night set-back, entered values must appear in the table in ISSO, adjust values
Id620 | Specifieke toeslag bepaald aan de hand van tabel 4.13 ISSO 53 uitgave 2017 niet toegestaan | Template Room requirements, night set-back, entered values must appear in the table in ISSO, adjust values
Id621 | De verdieping voor het woongebouw is niet opgegeven via de zone; de verdieping wordt nu automatisch bepaald | Check software version, it may need to be updated
Id622 | De reductiefactor voor circulatievoud is hoger opgegeven dan welke maximaal wordt voorgeschreven volgens ISSO 57. | Template ventilation, check entered ventilation rate for reduction
Id623 | Er wordt niet gerekend met hogere ontwerpbinnentemperaturen voor woningbouw; de gemiddelde Rc-waarde van de uitwendige scheidingsconstructies is minder dan 3.5 m².K/W | ISSO 51 2017 advised calculating with higher indoor temperatures, this can be checked in the building requirements template and is only applied if the average RC is >3.5m²K/W
Id624 | Voor verwarming en/of koeling zijn in de ruimte meerdere constructies met bron opgegeven. De afgifte hiervan varieert tussen '{0:0.0}' en '{1:0.0}' W/m2.K. Er wordt gerekend met een gemiddelde afgifte van '{2:0.0}' W/m2.K | If a floor has different sides (multiple rooms, crawl space, outside air), the output is different for each floor section, an average value is applied
Id625 | Voor de koelmachine wordt gerekend met een luchtgekoelde condensor | Resources Generation , check cold generator
Id626 | Voor de koelmachine wordt gerekend met een watergekoelde condensor | Resources Generation , check cold generator
Id627 | Voor het opgegeven type compressiekoelmachine zijn geen deellastgegevens beschikbaar. Er wordt gerekend met een forfaitair jaarlijks gemiddeld rendement voor de koelmachine | Resources Generation , check cold generator
Id628 | The internal heat gain for persons of room '{0}' cannot be determined; the calculation continues with a value of 0 W | Resources, Internal Heat Gains: Lighting, check values
Id629 | Er zijn meer dan 10 materialen opgegeven in de constructie. Dit is niet toegestaan en de berekening wordt afgebroken | Check Resources constructions for maximum number of layers and reduce the number of layers
Id630 | Inlezen van raamconstuctie is niet goed gegaan (interne fout) | Check and adjust resources construction window
Id631 | Fout bij berekening raamnetwerken (interne fout) | Check and adjust resources construction window, value 0?
Id632 | De doorlating {0} heeft een te lage waarde t.o.v. de g-waarde {1}. Doorlating met waarde {2} wordt toegepast. | Check and adjust resources construction window
Id633 | De doorlating {0} heeft een te hoge waarde t.o.v. de g-waarde {1}. Doorlating met waarde {2} wordt toegepast. | Check and adjust resources construction window
Id634 | Voor de biomassa-ketel is het niet mogelijk te rekenen met deellastrendement | Resources Generation, check values
Id635 | De gebouwsimulatie is afgesloten door een invoerfout: De som van energie "Doorlating" en "Absorptie" van het raamsysteem is groter dan 1,0 | Check and adjust resources construction window
Id636 | De gebouwsimulatie is afgesloten door een invoerfout: De som van licht "Doorlating" en "Reflectie" van het raamsysteem is groter dan 1,0 | Check and adjust resources construction window
Id637 | In de ruimte wordt een mechanische onbalans gecombineerd met hollandse klimaatgevel of klimaatraam; dit is niet mogelijk | The calculation cannot deal with dutch climate facade if air exchange is also present. For the rooms in question, you have to choose either air exchange or dutch climate facade
Id638 | Voor de constructie is een klimaatraam/hollandse klimaatgevel opgegeven. Dit is niet mogelijk in combinatie met een VAV regeling. | The calculation cannot deal with climate window if VAV is also present. For the rooms in question, you have to choose either a VAV system or climate window
Id639 | Voor de constructie is een klimaatraam/hollandse klimaatgevel opgegeven. Dit is niet mogelijk in combinatie met een mechanische onbalans. | The calculation cannot deal with climate window if air exchange is also present. For the rooms in question, you have to choose either air exchange or climate window
Id640 | Construction '{0}' has no material layers. | Check and adjust resources construction, are there any layers?
Id641 | Report '{0}' is not saved. Check whether you have sufficient rights to save the file and that the file is not locked by another program. | Check if you can create a new file in the folder where this file can be saved. If not, you don't have the necessary permissions in this folder
Id642 | A text part in the formatted report does not match the expected text type; the text will be skipped. | Restart the program and open the project from within the program.
Id643 | Building-part results are missing in the output file (HeatLossInputOutput.xml). | Restart the program and open the project from within the program.
Id644 | Construction only consists of plenum. This is not possible. | Check and adjust resources construction, are there only plenums?
Id645 | Boundary condition water is not allowed in the heat-loss calculation; boundary condition outside is applied. | Properties Building parts, check adjusted Adjacencies, choose an allowed adjacency
Id646 | Boundary condition strongly ventilated space is not allowed in the heat-loss calculation; boundary condition outside is applied. | Properties Building parts, check adjusted Adjacencies, choose an allowed adjacency
Id647 | Boundary condition water is not allowed in the cooling-need calculation; boundary condition outside is applied. | Properties Building parts, check adjusted Adjacencies, choose an allowed adjacency
Id648 | Boundary condition strongly ventilated space is not allowed in the cooling-need calculation; boundary condition outside is applied. | Properties Building parts, check adjusted Adjacencies, choose an allowed adjacency
Id649 | Boundary condition water is not allowed in building simulation; boundary condition outside is applied. | Properties Building parts, check adjusted Adjacencies, choose an allowed adjacency
Id650 | Boundary condition strongly ventilated space is not allowed in building simulation; boundary condition outside is applied. | Properties Building parts, check adjusted Adjacencies, choose an allowed adjacency
Id651 | Determination of the temperature of adjacent buildings from the input (number of adjacent buildings and average RC value) is ambiguous. The calculation continues with the lowest temperature. | To determine the reverse side temperature in the context of the safety class, an unambiguous procedure must be used. That is to say: either all buildings have been drawn, or a value is given when adjusting the adjacency of the properties of building parts. If this is used interchangeably, the worst situation will be leading
Id652 | Problem in the report related to part '{0}'. This part will be skipped. The report will not be complete! | Restart the program and open the project from within the program.
Id654 | Report part '{0}' is missing and will be skipped. The report will not be complete! | Restart the program and open the project from within the program.
Id655 | TOjuli calculation: 'living room TOjuli' and 'kitchen TOjuli' have not been assigned in the organization template. This is required for a correct IHG determination. The calculation uses the largest habitable room instead, which gets twice the calculated IHG. | One building must be calculated and one of the rooms in that building must be indicated in the template use that this is a living room TO July
Id656 | The TOjuli calculation is for dwellings, however the calculated building contains rooms with other usage functions as well. | Check the templates that have been applied, make sure they are all habitable
Id657 | TOjuli calculation: The calculation uses a time schedule of 24h per day for the internal heat gain. | Notification regarding mandatory import TOjuli, otherwise entered data will be overrulled
Id658 | TOjuli calculation: The calculation uses a counting period of 24h per day for all habitable spaces in the residential building. | Notification regarding mandatory import TOjuli, otherwise entered data will be overrulled
Id659 | TOjuli calculation: The calculation uses a total ventilation air heating of 0.7 K. | Notification regarding mandatory import TOjuli, otherwise entered data will be overrulled
Id660 | TOjuli calculation: The time schedule for flush ventilation is fixed (maximally 4 hours, 7:00-8:00h en 20:00-23:00h) when the indoor temperature is higher than 24 Â°C and the outside temperature is higher than 13 Â°C, but below the indoor temperature. | Notification regarding mandatory import TOjuli, otherwise entered data will be overrulled
Id661 | TOjuli calculation: Please note: you have to fill in the schedule for summer night ventilation yourself: a choice of 22 to 6 or 24h. The summer night ventilation scheme only applies when outside temperature is higher than 13°C and indoor temperature higher than 24°C. | Notification regarding mandatory import TOjuli, otherwise entered data will be overrulled
Id662 | TOjuli calculation: The calculation uses a blinds switch level of 150 W/m². | Notification regarding mandatory import TOjuli, otherwise entered data will be overrulled
Id663 | TOjuli calculation: The calculation requires a design temperature of 20°C, however all setpoints in room '{0}' are set to below 20°C. Check the input of the setpoints. | Template Room requirements, check the entered values
Id664 | TOjuli calculation: The calculation uses a ground temperature of 12°C. | Notification regarding mandatory import TOjuli, otherwise entered data will be overrulled
Id665 | The TOjuli calculation is for dwellings, however the calculated building contains rooms with a floor area of more than 400 m². | Inspection report, is this indeed a home?
Id666 | TOjuli calculation: More than one 'living room TOjuli' has been assigned in the organization template. | One building must be calculated and one of the rooms in that building must be indicated in the template use that this is a living room TO Juli
Id667 | TOjuli calculation: More than one 'kitchen TOjuli' has been assigned in the organization template. | One building must be calculated and one of the rooms in that building must be indicated in the template usage that this is a kitchen TO Juli
Id668 | Problem in the report related to the heading of container '{0}'. This heading will be skipped. The report will not be complete! | Restart the program and open the project from within the program.
Id669 | Save and reopen the project for the settings with respect to flexible reports to be applied. Only used for heat loss calculation method of 2017 and building simulation. | Notification is clear, save project and reopen project
Id670 | Project file '{0}' could not be saved because of the following database error: {1}. If the message contains 'string or blob too big', please try to limit the number of calculated rooms or save the project without results. | Call the service desk, they may still be able to save the project. Try saving under a different name/location, try saving without any results. To save the geometry you can export it to Sketchup (extension .tst to include the windows) all templates can be exchanged to the library as a new profile.
Id671 | Cannot close the calculation control panel when calculations are still busy. | Wait for the calculation to finish before other screens can be opened
Id672 | The changes in the report settings become visible in report '{0}' after the next calculation. | Changes have been made to the report settings, please calculate the project again so that the changes can be implemented in the report
Id673 | Holidays can be edited only when a valid climate file is selected in the Location window. | Project data, environment. Is a standard climate year used? Then send the project and the notification to elements@vabi.nl. If you are calculating with your own climate file, check it. If necessary, send the climate file and the project to elements@vabi.nl.
Id674 | The CSV file '{0}' has been exported correctly. | Notification that the CSV export has been done
Id675 | The CSV file '{0}' has not been exported. Check whether you have sufficient rights to save the file and whether the file is not locked by another program. | Check if you can create a new file in the folder where this file can be saved. If not, you don't have the necessary permissions in this folder
Id676 | The CSV file '{0}' has not been exported. No data available. | Tools, preferences, save, choose the correct form of CSV export and import and try again
Id677 | The CSV file '{0}' has been imported correctly. Number of updated data objects: {1}. | Notification that the CSV import has been done
Id678 | The CSV file '{0}' has not been imported. Check whether the file exists, whether you have sufficient rights to open the file and whether the file is not locked by another program. | Tools, preferences, save, choose the correct form of CSV export and import and try again
Id679 | The CSV file '{0}' does not contain any data objects matching the data objects in the table. Check whether the CSV file is associated to the Elements project and to the correct table for simplified input. | Tools, preferences, save, choose the correct form of CSV export and import and try again
Id680 | The CSV file '{0}' has another type than expected. Check the export and import CSV settings. More details: {1} | Tools, preferences, save, choose the correct form of CSV export and import and try again
Id681 | The CSV file '{0}' has another column structure than expected. Check whether the columns in the file match the columns of the table. More details: {1} | Tools, preferences, save, choose the correct form of CSV export and import and try again
Id682 | The CSV file '{0}' contains one or more field values that cannot be converted to the expected type. Check whether the field values in the file match the column type in the table. More details: {1} | Tools, preferences, save, choose the correct form of CSV export and import and try again
Id683 | The value of property '{0}', originally {1}, is changed to {2} in order to comply with the input mask. | Send project and notification to elements@vabi.nl
Id684 | In room '{1}', a value for daily operation is not changed because an emission device for {0} is not present. | Template HVAC, check if a device has been chosen. Is there a timetable in this template?
Id685 | In room '{1}', a value for nightly operation is not changed because an emission device for {0} is not present or because the device is not an induction unit. | Template HVAC, check if a device has been chosen. Is there a timetable in this template? Induction unit?
Id686 | In room '{1}', a value for nightly operation is not changed because an emission device for {0} is not present. | Template HVAC, check if a device has been chosen. Is there a timetable in this template?
Id687 | Date {0:d} is missing and is skipped. Check the climate file for missing days. | Project data, environment. Is a standard climate year used? Then send the project and the notification to elements@vabi.nl. If you are calculating with your own climate file, check it. If necessary, send the climate file and the project to elements@vabi.nl.
Id688 | The minimum and maximum air temperature in room '{0}' could not be determined. Check the input data of the room. | Send project and notification to elements@vabi.nl
Id689 | An error occurred while processing the tracing drawing. Drawing probably contains too many lines. | Check the drawing. Send the drawing and the question to elements@vabi.nl. Clearly state which layers should be read in including order and height.
Id690 | The start page cannot be loaded fully. Visit this web page for the latest information: {0}. | Restart the program and open the project from within the program.
Id691 | The calculated building '{0}' canot be deleted. First choose another building as calculated building and then try again. | Properties buildings, make sure that the building to be removed is not checked when calculating
Id692 | Save and reopen the project for all settings with respect to the calculation method to be applied. | Notification is clear, save project and reopen project
Id693 | Ventilation rate for room '{0}' is determined acoording to the Building Decree, however the building does not comply with or is checked against the Building Decree. This will lead to absence of ventilation in this room. | In the ventilation template, ventilation according to BBL has been chosen for heat loss, but in the building requirements template, it has been checked that the building does not comply with BBL. So no ventilation flow rate can be determined and 0m³/h is calculated. If necessary, enter your own value in the template ventilation
Id694 | The cooling-need calculation does not support the input of the person activity, and uses instead: {0}. | The cooling load calculation is based on NEN5067, in Table 1 clo and MET values are shown depending on the room temperature. The selected value does not appear in the table. If necessary, enter a different value
Id695 | The cooling-need calculation does not support the CLO value for summer clothing, and uses instead: {0}. | The cooling load calculation is based on NEN5067, in Table 1 clo and MET values are shown depending on the room temperature. The selected value does not appear in the table. If necessary, enter a different value
Id696 | The XML file contains an unexpected value in '{0}'. Context: {1}. | Send project and notification to elements@vabi.nl
Id697 | Deleting of {0} items: deleted: {1}; not deleted {2}. | Send project and notification to elements@vabi.nl
Id698 | {1} of the {0} items could not be deleted, because an alternative is not present to move the contained {2} items to. | Send project and notification to elements@vabi.nl
Id699 | The calculation expects exactly one calculated building complex. Currently there is no calculated complex or more than one. Check that exactly one complex is marked for calculation. | For heat loss, it is possible to calculate multiple buildings (Building complex). However, this option is not (yet) available for building simulation and Cooling load. For building properties, check only one building to calculate
Id700 | Heat-loss calculation method 2023 expects one or more calculated buildings, but there is no building to calculate. Check whether buildings are marked for calculation and whether these buildings are part of the calculated building complex. | Properties of buildings, tick a building to calculate
Id701 | Building '{0}' has both individual and collective heating systems. The heat-loss calculation considers the building to have a collective system. | Resources Generation, specify in the generation configuration whether it is an individual system or a collective system. In the template HVAC, distribution networks that are connected to the generators are used. Check whether each building is only connected to one type of generator
Id702 | Heat-loss calculation method 2017 expects exactly one calculated building. Currently there is no calculated building or more than one. Check whether a building is marked for calculation and whether this building is part of the calculated building complex. | The ability to calculate multiple buildings only works if project settings for ISSO 2023 have been selected for project details. If calculations are made according to 2017, then only one building can be ticked for calculation in the properties of buildings
Id703 | Building '{0}' contains no rooms. The heat-loss calculation will skip this building. | In properties buildings, a building is ticked that needs to be calculated. Check in properties Rooms which spaces are set to calculate. Are these spaces in the ticked building?
Id704 | Emission device '{0}' is not coupled to a distribution net or to a distribution net of the wrong type. The calculation will skip this device. | Template HVAC, a device has been chosen but no distribution network has yet been connected
Id705 | Distribution net '{0}' is not coupled to a generation system or to a generation system of the wrong type. The calculation will skip this net. | Resources Distribution, check if the distribution is connected to a generation configuration. If the correct generator cannot be selected, make sure that the correct generator is present within the generation configuration
Id706 | AHU '{0}' is not coupled to a distribution net or to a distribution net of the wrong type. The calculation will skip this AHU. | The coil in the AHU still needs to be connected to a distribution network. Go to Resources Air Handling to check this
Id707 | The calculation only supports one calculated building, however several calculated buildings are specified. The calculation takes building '{0}' as calculated building. | Properties of buildings, tick one building to calculate
Id708 | No calculated buildings defined | Properties of buildings, tick one building to calculate
Id709 | Control by room thermostat is not possible for a distribution net connected to several buildings. Choose separate distribution nets per building or another control mode. | Resources Distribution, choose a room control instead of a room thermostat. If you do want to calculate with a room thermostat, know that this only has an effect on the heating surcharge. It is then necessary to create a separate distribution network for each building.
Id710 | Access to the file with data on phase-change materials '{0}' is not possible. Check whether the file exists and check the access rights. | Check under Help if elements need to be updated. Send the project and notification to elements@vabi.nl
Id711 | The structure of the file with data on phase-change materials '{0}' is not correct. Fix the file or reinstall Elements. Details: {1} | Reinstall elements or contact the service desk 015-2133501
Id712 | In construction '{0}' the sort order of the layers '{1}' and '{2}' cannot be determined, which can lead to unpredictable results. Remove one of these layers and add the layer again. | Resources construction, remove said layer and reinsert it
Id713 | In room '{0}', a value is not changed because the ventilation flow cannot be entered. | Send project and notification to elements@vabi.nl
Id714 | AHU '{0}' has no operation schedule. The calculation applies a schedule based on the emission schedules of the connected rooms. A better solution would be to give the AHU its own schedule in the input. | Template HVAC, link a timetable for the AHU
Id715 | Building '{0}' has no operation schedule. The calculation applies a schedule based on the emission schedules of the connected rooms. A better solution would be to give the building its own schedule in the building-control template. | Template HVAC, link a timetable for the device